## Sheet1
| Var | Units | Long_Name | Instr_from_file | Original_Filename | Data_Info | Instrument_Info | PI_Info | Uncertainty | Revision | Stipulations | Institution_Info | Platform | PI_Contact_Info | Associated Data | Location | ULOD_Flag | ULOD_Value | LLOD_Flag | LLOD_Value | Project_Info | Other_Comments
0 | HCOOH_NOAACIMS | pptv | Gas_HCOOH_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
1 | Flight_N | No units found for this variable... | No long name found for this variable... | No Instrument found for this variable...
2 | N2O5_NOAACIMS | pptv | Gas_N2O5_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
3 | jNO2_meas | per second photolysis rate of NO2 measured using a filter radiometer. | second photolysis rate of NO2 measured using a filter radiometer. | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
4 | jBrCl | per second photolysis rate of BrCl -> Br + Cl calculated in TUV for cloud-free sky with local AOD | second photolysis rate of BrCl -> Br + Cl calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
5 | jBr2 | per second photolysis rate of Br2 -> Br + Br calculated in TUV for cloud-free sky with local AOD | second photolysis rate of Br2 -> Br + Br calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
6 | jCCl4 | per second photolysis rate of CCl4 -> Products calcualted in TUV for cloud-free sky with local AOD | second photolysis rate of CCl4 -> Products calcualted in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
7 | jCH2Oa | per second photolysis rate of CH2O -> H + HCO calculated in TUV for cloud-free sky with local AOD | second photolysis rate of CH2O -> H + HCO calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
8 | jCH2Ob | per second photolysis rate of CH2O -> H2 + CO calculated in TUV for cloud-free sky with local AOD | second photolysis rate of CH2O -> H2 + CO calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
9 | jClNO2 | per second photolysis rate of ClNO2 -> Cl + NO2 calculated in TUV for cloud-free sky with local AOD | second photolysis rate of ClNO2 -> Cl + NO2 calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
10 | jClOa | per second photolysis rate of ClO -> Cl + O(1D) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of ClO -> Cl + O(1D) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
11 | jClOb | per second photolysis rate of ClO -> Cl + O(3P) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of ClO -> Cl + O(3P) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
12 | jCl2 | per second photolysis rate of Cl2 -> Cl + Cl calculated in TUV for cloud-free sky with local AOD | second photolysis rate of Cl2 -> Cl + Cl calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
13 | jHNO2 | per second photolysis rate of HNO2 -> OH + NO calculated in TUV for cloud-free sky with local AOD | second photolysis rate of HNO2 -> OH + NO calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
14 | jHNO3 | per second photolysis rate of HNO3 -> OH + NO2 calculated in TUV for cloud-free sky with local AOD | second photolysis rate of HNO3 -> OH + NO2 calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
15 | jI2 | per second photolysis rate of I2 -> I + I calculated in TUV for cloud-free sky with local AOD | second photolysis rate of I2 -> I + I calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
16 | jNO2 | per second photolysis rate of NO2 -> NO + O(3P) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of NO2 -> NO + O(3P) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
17 | jNO3a | per second photolysis rate of NO3 -> NO + O2 calculated in TUV for cloud-free sky with local AOD | second photolysis rate of NO3 -> NO + O2 calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
18 | jNO3b | per second photolysis rate of NO3 -> NO2 + O(3P) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of NO3 -> NO2 + O(3P) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
19 | jN2O5 | per second photolysis rate of N2O5 -> NO3 + NO + O(3P) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of N2O5 -> NO3 + NO + O(3P) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
20 | jO3 | per second photolysis rate of O3 -> O2 + O(1D) calculated in TUV for cloud-free sky with local AOD | second photolysis rate of O3 -> O2 + O(1D) calculated in TUV for cloud-free sky with local AOD | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
21 | AOD_500nm | unitless UTC daily mean AOD at 500 nm from an AERONET station located at 40.178 N -112.452 E | UTC daily mean AOD at 500 nm from an AERONET station located at 40.178 N -112.452 E | jNO2_filter_radiometer_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-jNO2_MobileLabGround_20240805_R0.ict |  | jNO2_filter_radiometer___TUV_calculations_are_for_mobile_van_lat_lon_altitude_assuming_clear_sky_(cloud_AOD___0)_and_daily_mean_AOD_ | Waxman__E___Rollins__A___Zuraski__K___Chace__W_ | Data_uncertainties_are_+_-_20percent___These_come_from_uncertainties_in_radiometer_angular_response__radiometer_thermal_response__local_interferences_from_clouds_aerosols_shadows_etc_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab__at_ground_site | eleanor_waxman_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
22 | PAN_NOAACIMS | pptv | Gas_PAN_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
23 | APAN_NOAACIMS | pptv | Gas_PAN_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
24 | PPN_NOAACIMS | pptv | Gas_PPN_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
25 | ParticleCount_cm3 | particles/cm3 Total particles counts per cubic centimeter between 130 and 2500nm diameter | Total particles counts per cubic centimeter between 130 and 2500nm diameter | Mobile_Lab_Portable_Optical_Particle_Spectrometer_(POPS) | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-POPS_MobileLabGround_20240805_RA.ict |  | N_A | Carrie_Womack__Alexandre_Baron__Troy_Thornberry | N_A | RA | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A |  | N_A
26 | Br2_NOAACIMS | pptv | Gas_Br2_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
27 | BrO_NOAACIMS | pptv | Gas_BrO_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
28 | Cl2_NOAACIMS | pptv | Gas_Cl2_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
29 | ClNO2_NOAACIMS | pptv | Gas_ClNO2_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
30 | BrCl_NOAACIMS | pptv | Gas_BrCl_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
31 | NCl3_NOAACIMS | pptv | Gas_NCl3_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
32 | HNO2_NOAACIMS | pptv | Gas_HNO2_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
33 | CH3OH_NOAAPTR_ppbv | ppbv | Gas_CH3OH_InSitu_S_AVMR (CH3OH) methanol | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
34 | CH3CN_NOAAPTR_ppbv | ppbv | Gas_CH3CN_InSitu_S_AVMR (CH3CN) acetonitrile | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
35 | CH3CHO_NOAAPTR_ppbv | ppbv | Gas_CH3CHO_InSitu_S_AVMR (CH3CHO) acetaldehyde plus contributions from ethylene glycol and ethylene oxide. Interference from ethanol has been subtracted out. | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
36 | C2H5OH_NOAAPTR_ppbv | ppbv | Gas_C2H5OH_InSitu_S_AVMR (C2H5OH) ethanol | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
37 | CH3SH_NOAAPTR_ppbv | ppbv | Gas_CH3SH_InSitu_S_AVMR (CH3SH) methanethiol using calibration factor for DMS | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
38 | Acrolein_NOAAPTR_ppbv | ppbv | Gas_Acrolein_InSitu_S_AVMR (C3H4O) acrolein | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
39 | AcetonePropanal_NOAAPTR_ppbv | ppbv | Gas_AcetoneAndPropanal_InSitu_S_AVMR (C3H6O) sum of acetone (dominant isomer) and propanal using calibration factor for acetone | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
40 | DMS_NOAAPTR_ppbv | ppbv | Gas_DMS_InSitu_S_AVMR (C2H6S) dimethyl sulfide with possible small contributions from ethanethiol | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
41 | C5H8_NOAAPTR_ppbv | ppbv | Gas_Isoprene_InSitu_S_AVMR (C5H8) isoprene and possible fragments from cycloalkanes and aldehydes. Interferences have been subtracted following methods described by Coggon et al (2023) | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
42 | MVKMAC_NOAAPTR_ppbv | ppbv | Gas_MVKAndMAC_InSitu_S_AVMR (C4H6O) sum of methyl vinyl ketone methacrolein and small amounts of crotonaldehyde using weighted calibration factor for MVK (0.637) and MACR (0.363) | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
43 | Benzene_NOAAPTR_ppbv | ppbv | Gas_Benzene_InSitu_S_AVMR (C6H6) benzene | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
44 | Toluene_NOAAPTR_ppbv | ppbv | Gas_Toluene_InSitu_S_AVMR (C7H8) toluene with possible small contributions of fragments from ethyltoluene | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
45 | Styrene_NOAAPTR_ppbv | ppbv | Gas_Styrene_InSitu_S_AVMR (C8H8) styrene | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
46 | Benzaldehyde_NOAAPTR_ppbv | ppbv | Gas_Benzaldehyde_InSitu_S_AVMR (C7H6O) benzaldehyde | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
47 | C8Aromatics_NOAAPTR_ppbv | ppbv | Gas_C8Aromatics_InSitu_M_AVMR (C8H10) sum of m-xylene p-xylene o-xylene and ethyl benzene | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
48 | C9Aromatics_NOAAPTR_ppbv | ppbv | Gas_C9Aromatics_InSitu_M_AVMR (C9H12) sum of C9 aromatics | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
49 | Naphthalene_NOAAPTR_ppbv | ppbv | Gas_Naphthalene_InSitu_S_AVMR (C10H8) naphthalene | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
50 | Octanal_NOAAPTR_ppbv | ppbv | Gas_Octanal_InSitu_S_AVMR (C8H16O) octanal and small amounts of octanone | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
51 | Monoterpenes_NOAAPTR_ppbv | ppbv | Gas_Monoterpenes_InSitu_M_AVMR (C10H16) sum of monoterpenes and possible contributions from fragments of oxygenated monoterpenoids such as eucalyptol. | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
52 | Nonanal_NOAAPTR_ppbv | ppbv | Gas_Nonanal_InSitu_M_AVMR (C9H18O) nonanal and small amounts of nonanone | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
53 | C7H4ClF3_NOAAPTR_ppbv | ppbv | Gas_C7H4ClF3_InSitu_S_AVMR (C7H4ClF3) parachlorobenzotrifluoride | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
54 | C10H30O5Si5_NOAAPTR_ppbv | ppbv | Gas_C10H30O5Si5_InSitu_S_AVMR (C10H30O5Si5) decamethylcyclopentasiloxane | NOAA_PTR-ToF-MS | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-PTR_MobileLabGround_20240805_RA.ict | ppbv | NOAA_PTR-ToF-MS_measurements_on_NOAA_CSL_Mobile_Lab | Matthew_Coggon__Kelvin_Bates__Chelsea_Stockwell__Carsten_Warneke | See_OTHER_COMMENTS | RA | Use_of_these_data_require_prior_OK_from_PI_ | NOAA_ESRL_Chemical_Sciences_Division | Mobile_Laboratory_ | NOAA_ESRL_Chemical_Sciences_Division__Tropospheric_Chemistry_Group__325_Broadway__R_CSD7__Boulder__CO_80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A_ | USOS_Deployment_July-August__2024
55 | GPS_Alt_m | meters Altitude from Differential GPS | Altitude from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
56 | GPS_Course_deg | degrees Course from Differential GPS | Course from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
57 | GPS_GndSpd_m_s | m/s Ground Speed from Differential GPS | Ground Speed from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
58 | GPS_Heading_deg | degrees Heading from Differential GPS | Heading from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
59 | GPS_Lat_deg | degrees Latitude from Differential GPS | Latitude from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
60 | GPS_Lon_deg | degrees Longitude from Differential GPS | Longitude from Differential GPS | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
61 | AirTemp_C | Celsius Air Temperature from Airmar | Air Temperature from Airmar | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
62 | RelHumidity_pct | percent Relative Humidity from Airmar | Relative Humidity from Airmar | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
63 | Pressure_mb | millibars Pressure from Honeywell | Pressure from Honeywell | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
64 | WindDir_calc_deg | degrees Wind Direction from Airmar corrected for van movement | Wind Direction from Airmar corrected for van movement | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
65 | WindSpd_calc_m_s | m/s Wind Speed from Airmar corrected for van movement | Wind Speed from Airmar corrected for van movement | Mobile_Lab_MetNav_Station | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-MetNav_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack__Nate_Howard__Mike_Zucker | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A
66 | CO2_ppm_1min | ppmv | Gas_CO2_InSitu_S_DMF carbon dioxide mixing ratio | Picarro_2401-m_CO2_CH4_CO_H2O_Analyzer | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-Picarro-CO2-CH4-CO-H2O_MobileLabGround_20240805_R0.ict | CO2__ppm__dry_air_mole_fraction__CH4__ppb__dry_air_mole_fraction__CO__ppb__dry_air_mole_fraction__H2O__ppmv | CO2__CH4__and_CO_are_reported_as_dry_air_mole_fractions_using_a_commercial_wavelength-scanned_cavity_ring-down_analyzer_(Picarro_2401-m)__An_in-field_calibration_gas_standard_of_432±0_07_ppm_CO2__2095±1_ppb_CH4__and_183±1_ppb_CO__calibrated_in_the_Boulder_laboratories_before_and_after_the_field_project_using_primary_CO2__CH4__and_CO_standard_tanks_tied->the_WMO_standard_(X2019__X2004A__and_X2014A__respectively)_from_the_Global_Monitoring_Laboratory_(GML)__was_delivered->the_inlet_every_2-3_days->evaluate_instrument_sensitivity__A_H2O_measurement_was_calibrated_before_the_project_with_a_Dew_Point_Mirror_373_hygrometer__The_water_correction_calculated_from_these_calibrations_was_applied->the_H2O_measurement_for_the_entire_campaign__Species_are_measured_at_0_5_Hz_and_reported_as_1-minute_averages_for_stationary_measurements_ | Ilana_Pollack__Nell_Schafer__and_Jeff_Peischl | Total_uncertainties_are_estimated_as_±0_1_ppm_for_CO2__±1_ppb_for_CH4__±5_ppb_for_CO__and_±(50_ppm_+_4percent)_for_H2O_ | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | NOAA_CSL_Mobile_Laboratory | Ilana_Pollack_noaa_gov |  | The_mobile_lab_was_stationed_in_Salt_Lake_City__Utah_ | -7777 | N_A | -8888 | N_A | July_–_August_2024 | Data_are_averaged->1_minute_intervals__Stationary_data_collected_from_a_10_ft_tower_on_top_of_the_mobile_van_
67 | CH4_ppb_1min | ppbv | Gas_CH4_InSitu_S_DMF methane mixing ratio | Picarro_2401-m_CO2_CH4_CO_H2O_Analyzer | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-Picarro-CO2-CH4-CO-H2O_MobileLabGround_20240805_R0.ict | CO2__ppm__dry_air_mole_fraction__CH4__ppb__dry_air_mole_fraction__CO__ppb__dry_air_mole_fraction__H2O__ppmv | CO2__CH4__and_CO_are_reported_as_dry_air_mole_fractions_using_a_commercial_wavelength-scanned_cavity_ring-down_analyzer_(Picarro_2401-m)__An_in-field_calibration_gas_standard_of_432±0_07_ppm_CO2__2095±1_ppb_CH4__and_183±1_ppb_CO__calibrated_in_the_Boulder_laboratories_before_and_after_the_field_project_using_primary_CO2__CH4__and_CO_standard_tanks_tied->the_WMO_standard_(X2019__X2004A__and_X2014A__respectively)_from_the_Global_Monitoring_Laboratory_(GML)__was_delivered->the_inlet_every_2-3_days->evaluate_instrument_sensitivity__A_H2O_measurement_was_calibrated_before_the_project_with_a_Dew_Point_Mirror_373_hygrometer__The_water_correction_calculated_from_these_calibrations_was_applied->the_H2O_measurement_for_the_entire_campaign__Species_are_measured_at_0_5_Hz_and_reported_as_1-minute_averages_for_stationary_measurements_ | Ilana_Pollack__Nell_Schafer__and_Jeff_Peischl | Total_uncertainties_are_estimated_as_±0_1_ppm_for_CO2__±1_ppb_for_CH4__±5_ppb_for_CO__and_±(50_ppm_+_4percent)_for_H2O_ | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | NOAA_CSL_Mobile_Laboratory | Ilana_Pollack_noaa_gov |  | The_mobile_lab_was_stationed_in_Salt_Lake_City__Utah_ | -7777 | N_A | -8888 | N_A | July_–_August_2024 | Data_are_averaged->1_minute_intervals__Stationary_data_collected_from_a_10_ft_tower_on_top_of_the_mobile_van_
68 | CO_ppb_1min | ppbv | Gas_CO_InSitu_S_DMF carbon monoxide mixing ratio | Picarro_2401-m_CO2_CH4_CO_H2O_Analyzer | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-Picarro-CO2-CH4-CO-H2O_MobileLabGround_20240805_R0.ict | CO2__ppm__dry_air_mole_fraction__CH4__ppb__dry_air_mole_fraction__CO__ppb__dry_air_mole_fraction__H2O__ppmv | CO2__CH4__and_CO_are_reported_as_dry_air_mole_fractions_using_a_commercial_wavelength-scanned_cavity_ring-down_analyzer_(Picarro_2401-m)__An_in-field_calibration_gas_standard_of_432±0_07_ppm_CO2__2095±1_ppb_CH4__and_183±1_ppb_CO__calibrated_in_the_Boulder_laboratories_before_and_after_the_field_project_using_primary_CO2__CH4__and_CO_standard_tanks_tied->the_WMO_standard_(X2019__X2004A__and_X2014A__respectively)_from_the_Global_Monitoring_Laboratory_(GML)__was_delivered->the_inlet_every_2-3_days->evaluate_instrument_sensitivity__A_H2O_measurement_was_calibrated_before_the_project_with_a_Dew_Point_Mirror_373_hygrometer__The_water_correction_calculated_from_these_calibrations_was_applied->the_H2O_measurement_for_the_entire_campaign__Species_are_measured_at_0_5_Hz_and_reported_as_1-minute_averages_for_stationary_measurements_ | Ilana_Pollack__Nell_Schafer__and_Jeff_Peischl | Total_uncertainties_are_estimated_as_±0_1_ppm_for_CO2__±1_ppb_for_CH4__±5_ppb_for_CO__and_±(50_ppm_+_4percent)_for_H2O_ | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | NOAA_CSL_Mobile_Laboratory | Ilana_Pollack_noaa_gov |  | The_mobile_lab_was_stationed_in_Salt_Lake_City__Utah_ | -7777 | N_A | -8888 | N_A | July_–_August_2024 | Data_are_averaged->1_minute_intervals__Stationary_data_collected_from_a_10_ft_tower_on_top_of_the_mobile_van_
69 | H2O_ppmv_1min | ppmv | Met_H2OMRV_InSitu_S_AVMR water vapor mixing ratio | Picarro_2401-m_CO2_CH4_CO_H2O_Analyzer | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-Picarro-CO2-CH4-CO-H2O_MobileLabGround_20240805_R0.ict | CO2__ppm__dry_air_mole_fraction__CH4__ppb__dry_air_mole_fraction__CO__ppb__dry_air_mole_fraction__H2O__ppmv | CO2__CH4__and_CO_are_reported_as_dry_air_mole_fractions_using_a_commercial_wavelength-scanned_cavity_ring-down_analyzer_(Picarro_2401-m)__An_in-field_calibration_gas_standard_of_432±0_07_ppm_CO2__2095±1_ppb_CH4__and_183±1_ppb_CO__calibrated_in_the_Boulder_laboratories_before_and_after_the_field_project_using_primary_CO2__CH4__and_CO_standard_tanks_tied->the_WMO_standard_(X2019__X2004A__and_X2014A__respectively)_from_the_Global_Monitoring_Laboratory_(GML)__was_delivered->the_inlet_every_2-3_days->evaluate_instrument_sensitivity__A_H2O_measurement_was_calibrated_before_the_project_with_a_Dew_Point_Mirror_373_hygrometer__The_water_correction_calculated_from_these_calibrations_was_applied->the_H2O_measurement_for_the_entire_campaign__Species_are_measured_at_0_5_Hz_and_reported_as_1-minute_averages_for_stationary_measurements_ | Ilana_Pollack__Nell_Schafer__and_Jeff_Peischl | Total_uncertainties_are_estimated_as_±0_1_ppm_for_CO2__±1_ppb_for_CH4__±5_ppb_for_CO__and_±(50_ppm_+_4percent)_for_H2O_ | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | NOAA_CSL_Mobile_Laboratory | Ilana_Pollack_noaa_gov |  | The_mobile_lab_was_stationed_in_Salt_Lake_City__Utah_ | -7777 | N_A | -8888 | N_A | July_–_August_2024 | Data_are_averaged->1_minute_intervals__Stationary_data_collected_from_a_10_ft_tower_on_top_of_the_mobile_van_
70 | NO_LIF | pptv | Gas_NO_InSitu_S_AVMR volume mixing ratio of nitric oxide in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
71 | NO2_LIF | pptv | Gas_NO2_InSitu_S_AVMR volume mixing ratio of nitrogen dioxide in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
72 | NOy_LIF | pptv | Gas_NOy_InSitu_S_AVMR volume mixing ratio of total oxidized nitrogen in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
73 | NO_LIF_1SigmaAccuracy | pptv | Gas_NO_InSitu_S_AVMR volume mixing ratio of nitric oxide in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
74 | NO2_LIF_1SigmaAccuracy | pptv | Gas_NO2_InSitu_S_AVMR volume mixing ratio of nitrogen dioxide in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
75 | NOy_LIF_1SigmaAccuracy | pptv | Gas_NOy_InSitu_S_AVMR volume mixing ratio of total oxidized nitrogen in air | LIF_NO_NOx_NOy_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOy-LIF_MobileLabGround_20240805_R0.ict |  | NO_detection_by_laser_induced_fluorescence__NO2_detection_by_photolytic_conversion->NO__NOy_detection_by_catalytic_conversion->NO_on_gold_surface | Rollins__A___Waxman__E___Zuraski__K___Chace__W_ | Included_1_Sigma_Accuracy_waves_represent_the_combined_calibration_uncertainties_(±6percent__±9percent__±10percent)_and_zero_uncertainties_(3_ppt__20_ppt__100_ppt)_for_NO__NO2__and_NOy__respectively_ | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | andrew_rollins_noaa_gov |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | USOS_Project__July_-_August_2024
76 | O3_ppb | ppbv | Ozone from 2B Tech UV Analyzer | 2B_Tech_O3_UV_Analyzer | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-O3_MobileLabGround_20240805_R0.ict |  | N_A | Carrie_Womack | N_A | R0 | Use_of_these_data_require_prior_ok_from_PI_ | NOAA_Chemical_Sciences_Laboratory | CSL_Mobile_Lab | 325_Broadway_R_CSL7__Boulder__CO__80305 |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A |  | N_A
77 | C4H7NO5_NOAACIMS | pptv | Gas_C4H7NO5_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
78 | ISOPN_NOAACIMS | pptv | Gas_ISOPN_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
79 | C5H10O3_NOAACIMS | pptv | Gas_C5H10O3_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
80 | C5H9NO5_NOAACIMS | pptv | Gas_C5H9NO5_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
81 | C10H17NO4_NOAACIMS | pptv | Gas_C10H17NO4_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
82 | HNO3_NOAACIMS | pptv | Gas_HNO3_InSitu_S_AVMR | NOAA_Iodide_CIMS_Instrument | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-NOAAIodideCIMS-HNO3_MobileLabGround_20240805_RA.ict | All_data_in_parts_per_trillion_by_volume_(pptv)__1_Hz_data_is_available_upon_request_ | NOAA_I-_ToF_CIMS | Michael_A_Robinson__Chris_Jernigan__Subi_Thakali | TBD | RA | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | NOAA_ESRL_Chemical_Sciences_Laboratory_and_CIRES__U__of_Colorado | NOAA_CSL_Mobile_Lab | 325_Broadway__R_CSD_7__Boulder__Colorado_80305__michael_a_robinson_noaa_gov__chris_jernigan_noaa_gov_ |  | SLC__Utah | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_
83 | HCHO | ppbv | Gas_HCHO_InSitu_S_AVMR volume mixing ratio of formaldehyde in air | Picarro_G2307_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-HCHO_MobileLabGround_20240805_R0.ict | Data_is_averaged->1_minute_intervals_for_stationary_and_1_second_interval_for_driving__Stationary_data_collected_from_a_20_ft_tower_on_top_of_the_mobile_lab_ | Cavity_Ring-Down_Spectrometer | Huang__Yaoxian | N_A | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | Wayne_State_University | CSL_Mobile_Lab__at_Ground_Site | yaoxian_huang_wayne_edu |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_ | Data_have_been_shifted_backwards_by_1_minute->align_with_USOS_MetNav_and_Picarro_GHG_data_
84 | H2O | ppmv | Gas_H2O_InSitu_S_AVMR volume mixing ratio of water vapor in air | Picarro_G2307_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-HCHO_MobileLabGround_20240805_R0.ict | Data_is_averaged->1_minute_intervals_for_stationary_and_1_second_interval_for_driving__Stationary_data_collected_from_a_20_ft_tower_on_top_of_the_mobile_lab_ | Cavity_Ring-Down_Spectrometer | Huang__Yaoxian | N_A | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | Wayne_State_University | CSL_Mobile_Lab__at_Ground_Site | yaoxian_huang_wayne_edu |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_ | Data_have_been_shifted_backwards_by_1_minute->align_with_USOS_MetNav_and_Picarro_GHG_data_
85 | CH4 | ppmv | Gas_CH4_InSitu_S_AVMR volume mixing ratio of methane in air | Picarro_G2307_on_CSL_Mobile_Lab | /uufs/chpc.utah.edu/common/home/haskins-group1/data/Campaign_Data/Raw_Data/USOS_2024/R0/CSL_MobileLab_Parked/20240805/USOS-HCHO_MobileLabGround_20240805_R0.ict | Data_is_averaged->1_minute_intervals_for_stationary_and_1_second_interval_for_driving__Stationary_data_collected_from_a_20_ft_tower_on_top_of_the_mobile_lab_ | Cavity_Ring-Down_Spectrometer | Huang__Yaoxian | N_A | R0 | Users_are_strongly_encouraged->contact_the_PI_for_proper_data_usage_ | Wayne_State_University | CSL_Mobile_Lab__at_Ground_Site | yaoxian_huang_wayne_edu |  | Salt_Lake_City__UT | -7777 | N_A | -8888 | N_A | __csl_noaa_gov_groups_csl7_measurements_2024usos_ | Data_have_been_shifted_backwards_by_1_minute->align_with_USOS_MetNav_and_Picarro_GHG_data_