## Sheet1
INDEX | ORIGINAL_VARNAME | NEW_VARNAME | IS_ATTR | ATTR_OF | InChI | IS_LUMPED | IS_VOC | IS_RONO2 | LONG_NAME | PHASE | ORIGINAL_UNITS | NEW_UNITS | INSTRUMENT_SHORT | INSTRUMENT_INFO | DATA_INFO | PI_INFO | INSTITUTION_INFO | PLATFORM | UNCERTAINTY
0 | Br2_NOAACIMS | Br2_CIMS | FALSE |  | InChI=1S/Br2/c1-2 | FALSE | FALSE | FALSE | Concentration of molecular Bromine (Br2) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
1 | BrO_NOAACIMS | BrO_CIMS | FALSE |  | InChI=1S/BrO/c1-2 | FALSE | FALSE | FALSE | Concentration of Bromine Monoxide (BrO) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
2 | Cl2_NOAACIMS | Cl2_CIMS | FALSE |  | InChI=1S/Cl2/c1-2 | FALSE | FALSE | FALSE | Concentration of molecular Chlorine (Cl2) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
3 | ClNO2_NOAACIMS | ClNO2_CIMS | FALSE |  | InChI=1S/ClNO2/c1-4-2-3 | FALSE | FALSE | FALSE | Nitryl chloride (ClNO2) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
4 | BrCl_NOAACIMS | BrCl_CIMS | FALSE |  | InChI=1S/BrCl/c1-2 | FALSE | FALSE | FALSE | Bromine chloride (BrCl) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
5 | NCl3_NOAACIMS | NCl3_CIMS | FALSE |  | InChI=1S/Cl3N/c1-4(2)3 | FALSE | FALSE | FALSE | Concentration of Nitrogen Trichloride (NCl3) in ambient air | Gas | pptv | ppbv | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
6 | Flight_N | File_Index | FALSE |  |  | FALSE | FALSE | FALSE | File Number |  | No units found for this variable... | Unitless | NA |  | User added variable.
7 | NO_LIF | NO_LIF | FALSE |  | InChI=1S/NO/c1-2 | FALSE | FALSE | FALSE | Concentration of Nitric Oxide (NO) in ambient air | Gas | pptv | ppbv | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | NO detection by laser induced fluorescence. | Andrew Rollins (andrew.rollins@noaa.gov), Elenor Waxman (elenor.waxman@noaa.gov), K. Zuraski, W. Chace | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
8 | NO2_LIF | NO2_LIF | FALSE |  | InChI=1S/NO2/c2-1-3 | FALSE | FALSE | FALSE | Concentration of Nitrogen Dioxide (NO2) in ambient air | Gas | pptv | ppbv | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | NO2 detection by photolytic conversion to NO, which was then detected by laser induced fluroescence. | Andrew Rollins (andrew.rollins@noaa.gov), Elenor Waxman (elenor.waxman@noaa.gov), K. Zuraski, W. Chace | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
9 | NOy_LIF | NOy_LIF | FALSE |  |  | TRUE | FALSE | FALSE | Concentration of Total oxidixed nitrogen (NOy) in ambient air where (NOy=HNO3+N2O5+Organic Nitrates+NO+NO2+...) | Gas | pptv | ppbv | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | NOy detection by catalytic conversion to NO on gold surface, which was then detected by laser induced fluroscence. | Andrew Rollins (andrew.rollins@noaa.gov), Elenor Waxman (elenor.waxman@noaa.gov), K. Zuraski, W. Chace | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
10 | NO_LIF_1SigmaAccuracy | ACCURACY_1sigma_NO | TRUE | NO_LIF |  | FALSE | FALSE | FALSE | 1 sigma accuracy of Nitric Oxide (NO) concentration from LIF. 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 6% of observed concentration) and zero uncertainties (3 pptv) for NO. | Gas | pptv | ppbv | NOy-LIF
11 | NO2_LIF_1SigmaAccuracy | ACCURACY_1sigma_NO2 | TRUE | NO2_LIF |  | FALSE | FALSE | FALSE | 1 sigma accuracy of Nitrogen Dioxide (NO2) concentration from LIF. 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 9% of observed concentration) and zero uncertainties (20 pptv) for NO2. | Gas | pptv | ppbv | NOy-LIF
12 | NOy_LIF_1SigmaAccuracy | ACCURACY_1sigma_NOy | TRUE | NOy_LIF |  | TRUE | FALSE | FALSE | 1 sigma accuracy of the total concentration of oxidixed nitrogen (NOy=HNO3+N2O5+Organic Nitrates+NO+NO2+...). 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 10% of observed concentration) and zero uncertainties (100 pptv) for NOy. | Gas | pptv | ppbv | NOy-LIF
13 | N2O5_NOAACIMS | N2O5_CIMS | FALSE |  | InChI=1S/N2O5/c3-1(4)7-2(5)6 | FALSE | FALSE | FALSE | Concentration of Dinitryl Pentoxide (N2O5) in ambient air | Gas | pptv | ppbv | CIMS-N2O5 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
14 | C4H7NO5_NOAACIMS | C4H7NO5_CIMS | FALSE |  |  | TRUE | TRUE | TRUE | Total concentration of C4 organic nitrates (MACRN / MVKN) with formula C4H7NO5 in ambient air | Gas | pptv | ppbv | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
15 | ISOPN_NOAACIMS | ISOPN_CIMS | FALSE |  |  | TRUE | TRUE | TRUE | Total concentration of Isoprene derived nitrates (ISOPN) in ambient air | Gas | pptv | ppbv | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
16 | C5H10O3_NOAACIMS | C5H10O3_CIMS | FALSE |  |  | TRUE | TRUE | FALSE | Total concentration of C5H10O3 in ambient air | Gas | pptv | ppbv | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
17 | C5H9NO5_NOAACIMS | C5H9NO5_CIMS | FALSE |  |  | TRUE | TRUE | TRUE | Total concentration of C5 organic nitrates with formula C5H0NO5 in ambient air | Gas | pptv | ppbv | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
18 | C10H17NO4_NOAACIMS | C10H17NO4_CIMS | FALSE |  |  | TRUE | TRUE | TRUE | Total concentration of C10 organic nitrates with formula C10H17NO4 in ambient air | Gas | pptv | ppbv | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
19 | HNO3_NOAACIMS | HNO3_CIMS | FALSE |  | InChI=1S/HNO3/c2-1(3)4/h(H,2,3,4) | FALSE | FALSE | FALSE | Concentration of Nitric Acid (HNO3) in ambient air | Gas | pptv | ppbv | CIMs-HNO3 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
20 | CH3OH_NOAAPTR_ppbv | Methanol_PTR | FALSE |  | InChI=1S/CH4O/c1-2/h2H,1H3 | FALSE | TRUE | FALSE | Concentration of Methanol (CH3OH) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
21 | CH3CN_NOAAPTR_ppbv | Acetonitrile_PTR | FALSE |  | InChI=1S/C2H3N/c1-2-3/h1H3 | FALSE | TRUE | FALSE | Concentration of Acetonitrile (CH3CN) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
22 | CH3CHO_NOAAPTR_ppbv | Acetaldehyde_PTR | FALSE |  | InChI=1S/C2H4O/c1-2-3/h2H,1H3 | FALSE | TRUE | FALSE | Concentration of Acetaldehyde (CH3CHO) plus contributions from ethylene glycol and ethylene oxide in ambient air. Interference from ethanol has been subtracted out. | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
23 | C2H5OH_NOAAPTR_ppbv | Ethanol_PTR | FALSE |  | InChI=1S/C2H6O/c1-2-3/h3H,2H2,1H3 | FALSE | TRUE | FALSE | Concentration of Ethanol (C2H5OH) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
24 | CH3SH_NOAAPTR_ppbv | Methanethiol_PTR | FALSE |  | InChI=1S/CH4S/c1-2/h2H,1H3 | FALSE | TRUE | FALSE | Concentration of Methanethiol (CH3SH) in ambient air, calibrated using factor for DMS. | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
25 | Acrolein_NOAAPTR_ppbv | Acrolein_PTR | FALSE |  | InChI=1S/C3H4O/c1-2-3-4/h2-3H,1H2 | FALSE | TRUE | FALSE | Concentration of Acrolein (C3H4O) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
26 | AcetonePropanal_NOAAPTR_ppbv | Acetone_Propanal_PTR | FALSE |  |  | TRUE | TRUE | FALSE | Total concentration of Acetone & Propanal (C3H6O) in ambient air calibrated using calibration factor for acetone | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
27 | DMS_NOAAPTR_ppbv | DMS_PTR | FALSE |  | InChI=1S/C2H6S/c1-3-2/h1-2H3 | FALSE | TRUE | FALSE | Concentration of Dimethyl sulfide (DMS) (C2H6S) with possible small contributions from ethanethiol in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
28 | C5H8_NOAAPTR_ppbv | Isoprene_PTR | FALSE |  | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | FALSE | TRUE | FALSE | Concentration of Isoprene (C5H8) in ambient air and possible fragments from cycloalkanes and aldehydes. Interferences have been subtracted following methods described by Coggon et al (2023) | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
29 | MVKMAC_NOAAPTR_ppbv | MVK_MACR_PTR | FALSE |  |  | TRUE | TRUE | FALSE | Total concentration of MVK (methyl vinyl ketone) and MACR (methacrolein) and small amounts of crotonaldehyde in ambient air (C4H6O). Calibrated using using weighted calibration factor for MVK (0.637) and MACR (0.363). | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
30 | Benzene_NOAAPTR_ppbv | Benzene_PTR | FALSE |  | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | FALSE | TRUE | FALSE | Concentration of Benzene (C6H6) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
31 | Toluene_NOAAPTR_ppbv | Toluene_PTR | FALSE |  | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | FALSE | TRUE | FALSE | Concentration of Toluene (C7H8) in ambient air with possible fragments from ethyltoluene. | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
32 | Styrene_NOAAPTR_ppbv | Styrene_PTR | FALSE |  | InChI=1S/C8H8/c1-2-8-6-4-3-5-7-8/h2-7H,1H2 | FALSE | TRUE | FALSE | Concentration of Styrene (C8H8) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
33 | Benzaldehyde_NOAAPTR_ppbv | Benzaldehyde_PTR | FALSE |  | InChI=1S/C7H6O/c8-6-7-4-2-1-3-5-7/h1-6H | FALSE | TRUE | FALSE | Concentration of Benzaldehyde (C7H6O) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
34 | C8Aromatics_NOAAPTR_ppbv | C8Aromatics_PTR | FALSE |  |  | TRUE | TRUE | FALSE | Total Concentration of m-xylene p-xylene o-xylene and ethyl benzene (C8H10) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
35 | C9Aromatics_NOAAPTR_ppbv | C9Aromatics_PTR | FALSE |  |  | TRUE | TRUE | FALSE | Total concentration of all C9 Aromatics (C9H12) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
36 | Naphthalene_NOAAPTR_ppbv | Naphthalene_PTR | FALSE |  | InChI=1S/C10H8/c1-2-6-10-8-4-3-7-9(10)5-1/h1-8H | FALSE | TRUE | FALSE | Concentration of Naphthalene (C10H8) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
37 | Octanal_NOAAPTR_ppbv | Octanal_PTR | FALSE |  | InChI=1S/C8H16O/c1-2-3-4-5-6-7-8-9/h8H,2-7H2,1H3 | FALSE | TRUE | FALSE | Concentration of Octanal (C8H16O) and small amounts of octanone in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
38 | Monoterpenes_NOAAPTR_ppbv | Monoterpenes_PTR | FALSE |  |  | TRUE | TRUE | FALSE | Concentration of total Monoterpenes (C10H16) in ambient air with possible contributions from framents of oxygenated monoterpenoids such as eucalyptol | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
39 | Nonanal_NOAAPTR_ppbv | Nonanal_PTR | FALSE |  | InChI=1S/C9H18O/c1-2-3-4-5-6-7-8-9-10/h9H,2-8H2,1H3 | FALSE | TRUE | FALSE | Concentration of Nonanal (C9H18O) & small amonts of nonaone in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
40 | C7H4ClF3_NOAAPTR_ppbv | C7H4ClF3_PTR | FALSE |  | InChI=1S/C7H4ClF3/c8-6-3-1-5(2-4-6)7(9,10)11/h1-4H | FALSE | FALSE | FALSE | Concentration of Para-chlorobenzotrifluoride (C7H4ClF3) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
41 | C10H30O5Si5_NOAAPTR_ppbv | D5_siloxane_PTR | FALSE |  | InChI=1S/C10H30O5Si5/c1-16(2)11-17(3,4)13-19(7,8)15-20(9,10)14-18(5,6)12-16/h1-10H3 | FALSE | FALSE | FALSE | Concentration of Decamethylcyclopentasiloxane (C10H30O5Si5) in ambient air | Gas | ppbv | ppbv | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) |  | Matthew Coggon, Kelvin Bates, Chelsea Stockwell, Carsten Warneke | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
42 | PAN_NOAACIMS | PAN_CIMS | FALSE |  | InChI=1S/C2H3NO5/c1-2(4)7-8-3(5)6/h1H3 | FALSE | TRUE | FALSE | Concentration of Peroxy-Acetyl Nitrate (PAN) in ambient air | Gas | pptv | ppbv | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
43 | APAN_NOAACIMS | APAN_CIMS | FALSE |  | InChI=1S/C6H3NO7/c1-3(6(9)13-7(10)11)5(8)4-2-12-14-4/h2H,1H2 | FALSE | TRUE | FALSE | Concentration of Peroxy-Acryloyl Nitrate (APAN) in ambient air | Gas | pptv | ppbv | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
44 | PPN_NOAACIMS | PPN_CIMS | FALSE |  | InChI=1S/C3H5NO5/c1-2-3(5)8-9-4(6)7/h2H2,1H3 | FALSE | TRUE | TRUE | Concentration of Peroxy-Propionyl Nitrate (PPN) in ambient air | Gas | pptv | ppbv | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
45 | HCOOH_NOAACIMS | HCOOH_CIMS | FALSE |  | InChI=1S/CH2O2/c2-1-3/h1H,(H,2,3) | FALSE | TRUE | FALSE | Concentration of Formic Acid HCOOH) in ambient air | Gas | pptv | ppbv | CIMs-HCOOH | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Michael A. Robinson (michael.a.robinson@noaa.gov ), Chris Jernigan (chris.jernigan@noaa.gov), Subi Thakali | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
46 | HNO2_NOAACIMS | HONO_CIMS | FALSE |  | InChI=1S/HNO2/c2-1-3/h(H,2,3) | FALSE | FALSE | FALSE | Concentration of Nitrous acid (HONO) in ambient air | Gas | pptv | ppbv | CIMs-HNO2 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | Data reporeted originally in parts per trillion by volume (pptv). 1 Hz data available upon request. | Carrie Womack (caroline.womack@noaa.gov) | NOAA ESRL Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
47 | O3_ppb | O3_ppbv | FALSE |  | InChI=1S/O3/c1-3-2 | FALSE | FALSE | FALSE | Concentration of Ozone (O3) in ambient air | Gas | ppbv | ppbv | O3 | 2B Tech O3 UV Analyzer |  | Carrie Womack (caroline.womack@noaa.gov), Alexandre Baron, Troy Thornberry | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
48 | ParticleCount_cm3 | Nconc_cm3 | FALSE |  |  | FALSE | FALSE | FALSE | Total number of particles per cm3 of air between 130nm to 2500nm in diameter in ambient air | Particle | particles/cm3 Total particles counts per cubic centimeter between 130 and 2500nm diameter | #/cm3 (air) | POPS | Mobile Lab Portable Optical Particle Spectrometer (POPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
49 | GPS_Alt_m | Altitude_m | FALSE |  |  | FALSE | FALSE | FALSE | Altitude |  | meters Altitude from Differential GPS | m | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
50 | GPS_Course_deg | Course_deg | FALSE |  |  | FALSE | FALSE | FALSE | Course |  | degrees Course from Differential GPS | degrees | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
51 | GPS_GndSpd_m_s | GndSpd_ms | FALSE |  |  | FALSE | FALSE | FALSE | Ground Speed |  | m/s Ground Speed from Differential GPS | m/s | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
52 | GPS_Heading_deg | Heading_deg | FALSE |  |  | FALSE | FALSE | FALSE | Heading |  | degrees Heading from Differential GPS | degrees | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
53 | GPS_Lat_deg | Lat | FALSE |  |  | FALSE | FALSE | FALSE | Latitude |  | degrees Latitude from Differential GPS | degrees N | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
54 | GPS_Lon_deg | Lon | FALSE |  |  | FALSE | FALSE | FALSE | Longitude |  | degrees Longitude from Differential GPS | degrees E | MetNav | Mobile Lab MetNav Station (Differiential GPS) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
55 | AirTemp_C | Temp_K | FALSE |  |  | FALSE | FALSE | FALSE | Ambient Air Temperature |  | Celsius Air Temperature from Airmar | Celcius | MetNav | Mobile Lab MetNav Station |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
56 | Pressure_mb | Pressure_mb | FALSE |  |  | FALSE | FALSE | FALSE | Ambient Pressure |  | millibars Pressure from Honeywell | mbar | MetNav | Mobile Lab MetNav Station |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
57 | WindDir_calc_deg | WindDir_deg | FALSE |  |  | FALSE | FALSE | FALSE | Wind direction (corrected for van movement) |  | degrees Wind Direction from Airmar corrected for van movement | degrees | MetNav | Mobile Lab MetNav Station |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
58 | WindSpd_calc_m_s | WindSpd_ms | FALSE |  |  | FALSE | FALSE | FALSE | Windspeed (corrected for van movement) |  | m/s Wind Speed from Airmar corrected for van movement | m/s | MetNav | Mobile Lab MetNav Station |  | Andrew Rollins (andrew.rollins@noaa.gov), Elenor Waxman (elenor.waxman@noaa.gov), K. Zuraski, W. Chace | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
59 | jNO2_meas | jNO2_meas | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of NO2 |  | per second photolysis rate of NO2 measured using a filter radiometer | s-1 | jNO2 | Filter radiometer on Mobile Lab |  | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS) | +/-20%
60 | CO2_ppm_1min | CO2_Piccaro | FALSE |  | InChI=1S/CO2/c2-1-3 | FALSE | FALSE | FALSE | Concentration of Carbon Dioxide (CO2) in dry air | Gas | ppmv | ppbv | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | Concentration reported as dry air mole fraction using a commercial wavelength-scanned Cavity Ring-Down Analyzer (Picarro 2401-m). Species were measured at 0.5 Hz and reported as 1-minute averages for stationary measurements. Stationary data collected from a 10 ft tower on top of the mobile van. | Ilana Pollack (Ilana.Pollack@noaa.gov), Nell Schafer,Jeff Peischl | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS) | +/- 0.1 ppmv
61 | CH4_ppb_1min | CH4_Piccaro | FALSE |  | InChI=1S/CH4/h1H4 | FALSE | FALSE | FALSE | Concentration of Methane (CH4) in dry air | Gas | ppbv | ppbv | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | Concentration reported as dry air mole fraction using a commercial wavelength-scanned Cavity Ring-Down Analyzer (Picarro 2401-m). Species were measured at 0.5 Hz and reported as 1-minute averages for stationary measurements. Stationary data collected from a 10 ft tower on top of the mobile van. | Ilana Pollack (Ilana.Pollack@noaa.gov), Nell Schafer,Jeff Peischl | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS) | +/- 1 ppbv
62 | CO_ppb_1min | CO_Piccaro | FALSE |  | InChI=1S/CO/c1-2 | FALSE | FALSE | FALSE | Concentration of Carbon Monoxide (CO) in dry air | Gas | ppbv | ppbv | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | Concentration reported as dry air mole fraction using a commercial wavelength-scanned Cavity Ring-Down Analyzer (Picarro 2401-m). Species were measured at 0.5 Hz and reported as 1-minute averages for stationary measurements. Stationary data collected from a 10 ft tower on top of the mobile van . | Ilana Pollack (Ilana.Pollack@noaa.gov), Nell Schafer,Jeff Peischl | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS) | +/- 5 ppbv
63 | H2O_ppmv_1min | H2O_Piccaro | FALSE |  | InChI=1S/H2O/h1H2 | FALSE | FALSE | FALSE | Concentration of Water vapor (H2O) in dry air | Gas | ppmv | ppbv | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | Concentration reported as dry air mole fraction using a commercial wavelength-scanned Cavity Ring-Down Analyzer (Picarro 2401-m). Species were measured at 0.5 Hz and reported as 1-minute averages for stationary measurements. Stationary data collected from a 10 ft tower on top of the mobile van. | Ilana Pollack (Ilana.Pollack@noaa.gov), Nell Schafer,Jeff Peischl | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS) | +/- 50 ppmv or 4% of obs
64 | HCHO | HCHO_CRDS | FALSE |  | InChI=1S/CH2O/c1-2/h1H2 | FALSE | TRUE | FALSE | Concentration of Formaldehyde (HCHO) | Gas | ppbv | ppbv | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | Data was averaged->1 minute intervals for stationary periods and at 1 second intervals for driving periods. Stationary data was collected from a 20 ft tower on top of the mobile lab . Anytime the mobile lab was driving, data is reported as “missing” in the stationary files. | Yaoxian Huang (yaoxian.huang@wayne.edu) | Wayne State University | NOAA CSL Mobile Lab (at Ground Site) deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
65 | H2O | H2O_CRDS | FALSE |  | InChI=1S/H2O/h1H2 | FALSE | FALSE | FALSE | Concentration of Water vapor (H2O) | Gas | ppmv | ppbv | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | Data was averaged->1 minute intervals for stationary periods and at 1 second intervals for driving periods. Stationary data was collected from a 20 ft tower on top of the mobile lab . Anytime the mobile lab was driving, data is reported as “missing” in the stationary files. | Yaoxian Huang (yaoxian.huang@wayne.edu) | Wayne State University | NOAA CSL Mobile Lab (at Ground Site) deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
66 | CH4 | CH4_CRDS | FALSE |  | InChI=1S/CH4/h1H4 | FALSE | FALSE | FALSE | Concentration of Methane (CH4) | Gas | ppmv | ppbv | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | Data was averaged->1 minute intervals for stationary periods and at 1 second intervals for driving periods. Stationary data was collected from a 20 ft tower on top of the mobile lab . Anytime the mobile lab was driving, data is reported as “missing” in the stationary files. | Yaoxian Huang (yaoxian.huang@wayne.edu) | Wayne State University | NOAA CSL Mobile Lab (at Ground Site) deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
67 | Acetone_ppbv | Acetone_WAS | FALSE |  | InChI=1S/C3H6O/c1-3(2)4/h1-2H3 | FALSE | TRUE | FALSE | Concentration of Acetone (C3H6O) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
68 | Benzene_ppbv | Benzene_WAS | FALSE |  | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | FALSE | TRUE | FALSE | Concentration of Benzene (C6H6) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
69 | C2Cl4_ppbv | C2Cl4_WAS | FALSE |  | InChI=1S/C2Cl4/c3-1(4)2(5)6 | FALSE | TRUE | FALSE | Concentration of Tertrachloroethylene (C2Cl4) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
70 | C2HCl3_ppbv | C2HCl3_WAS | FALSE |  | InChI=1S/C2HCl3/c3-1-2(4)5/h1H | FALSE | TRUE | FALSE | Concentration of Tricholorethylene (C2HCl3) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
71 | CCl4_ppbv | CCl4_WAS | FALSE |  | InChI=1S/CCl4/c2-1(3,4)5 | FALSE | TRUE | FALSE | Concentration of CarbonTetra Chloride (CCl4) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
72 | CF2Cl2_ppbv | CF2Cl2_WAS | FALSE |  | InChI=1S/CCl2F2/c2-1(3,4)5 | FALSE | TRUE | FALSE | Concentration of Dichlorodifluromethane(CF2Cl2) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
73 | CH2Cl2_ppbv | CH2Cl2_WAS | FALSE |  | InChI=1S/CH2Cl2/c2-1-3/h1H2 | FALSE | TRUE | FALSE | Concentration of Dichloromethane (CH2Cl2) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
74 | EthBenzene_ppbv | Ethyl_WAS | FALSE |  | InChI=1S/C8H10/c1-2-8-6-4-3-5-7-8/h3-7H,2H2,1H3 | FALSE | TRUE | FALSE | Concentraiton of Ethyl Benzene (C8H10) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
75 | Ethane_ppbv | Ethane_WAS | FALSE |  | InChI=1S/C2H6/c1-2/h1-2H3 | FALSE | TRUE | FALSE | Concenatrate of Ethane (C2H6) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
76 | Ethene_ppbv | Ethene_WAS | FALSE |  | InChI=1S/C2H4/c1-2/h1-2H2 | FALSE | TRUE | FALSE | Concentration of Ethene (C2H4)in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
77 | Ethyne_ppbv | Ethyne_WAS | FALSE |  | InChI=1S/C2H2/c1-2/h1-2H | FALSE | TRUE | FALSE | Concentration of Ethyne (C2H2)in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
78 | Isoprene_ppbv | Isoprene_WAS | FALSE |  | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | FALSE | TRUE | FALSE | Concentration of Isoprene (C5H8)in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
79 | Limonene_ppbv | Limonene_WAS | FALSE |  | InChI=1S/C10H16/c1-8(2)10-6-4-9(3)5-7-10/h4,10H,1,5-7H2,2-3H3 | FALSE | TRUE | FALSE | Concentration of Limonene (C10H16) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
80 | MACR_ppbv | MACR_WAS | FALSE |  | InChI=1S/C4H6O/c1-4(2)3-5/h3H,1H2,2H3 | FALSE | TRUE | FALSE | Concentration of Methacrolein (MACR), (C4H6O) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
81 | Propane_ppbv | Propane_WAS | FALSE |  | InChI=1S/C3H8/c1-3-2/h3H2,1-2H3 | FALSE | TRUE | FALSE | Concentration of Propane (C3H8) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
82 | Propene_ppbv | Propene_WAS | FALSE |  | InChI=1S/C3H6/c1-3-2/h3H,1H2,2H3 | FALSE | TRUE | FALSE | Concentration of Propene (C3H6) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
83 | Toluene_ppbv | Toluene_WAS | FALSE |  | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | FALSE | TRUE | FALSE | Concentration of Toluene (C7H8) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
84 | aPinene_ppbv | Alpha_Pinene_WAS | FALSE |  | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h4,8-9H,5-6H2,1-3H3 | FALSE | TRUE | FALSE | Concentration of alpha-Pinene (C10H16) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
85 | bPinene_ppbv | Beta_Pinene_WAS | FALSE |  | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h8-9H,1,4-6H2,2-3H3 | FALSE | TRUE | FALSE | Concentration of beta-Pinene (C10H16) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
86 | iButane_ppbv | iButane_WAS | FALSE |  | InChI=1S/C4H10/c1-4(2)3/h4H,1-3H3 | FALSE | TRUE | FALSE | Concnentration of iso-butane (C4H10) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
87 | iPentane_ppbv | iPentane_WAS | FALSE |  | InChI=1S/C5H12/c1-4-5(2)3/h5H,4H2,1-3H3 | FALSE | TRUE | FALSE | Concentration of iso-Pentane (C5H12) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
88 | iPropONO2_ppbv | iPropONO2_WAS | FALSE |  | InChI=1S/C3H7NO3/c1-3(2)7-4(5)6/h3H,1-2H3 | FALSE | TRUE | TRUE | Concentration of isopropyl nitrate (C3H7NO3) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
89 | mpXylene_ppbv | m_p_Xylene_WAS | FALSE |  | InChI=1S/C8H10/c1-7-4-3-5-8(2)6-7/h3-6H,1-2H3 | FALSE | TRUE | FALSE | Total concentration of m-Xylene and p-Xylene (C8H10) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
90 | nButane_ppbv | nButane_WAS | FALSE |  | InChI=1S/C4H10/c1-3-4-2/h3-4H2,1-2H3 | FALSE | TRUE | FALSE | Concentraiton of n-Butane (C4H10) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
91 | nHeptane_ppbv | nHeptane_WAS | FALSE |  | InChI=1S/C7H16/c1-3-5-7-6-4-2/h3-7H2,1-2H3 | FALSE | TRUE | FALSE | Concentration of n-Heptane (C7H16) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
92 | nHexane_ppbv | nHexane_WAS | FALSE |  | InChI=1S/C6H14/c1-3-5-6-4-2/h3-6H2,1-2H3 | FALSE | TRUE | FALSE | Concentration of n-Hexane (C6H14) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
93 | nNonane_ppbv | nNonane_WAS | FALSE |  | InChI=1S/C9H20/c1-3-5-7-9-8-6-4-2/h3-9H2,1-2H3 | FALSE | TRUE | FALSE | Concentration of n-Nonane (C9H20) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
94 | nOctane_ppbv | nOctane_WAS | FALSE |  | InChI=1S/C8H18/c1-3-5-7-8-6-4-2/h3-8H2,1-2H3 | FALSE | TRUE | FALSE | Concentraiton of n-Octane (C8H18)in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
95 | nPentane_ppbv | nPentane_WAS | FALSE |  | InChI=1S/C5H12/c1-3-5-4-2/h3-5H2,1-2H3 | FALSE | TRUE | FALSE | Concentration of n-Penane (C5H12) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
96 | nPropONO2_ppbv | nPropONO2_WAS | FALSE |  | InChI=1S/C3H7NO3/c1-2-3-7-4(5)6/h2-3H2,1H3 | FALSE | TRUE | TRUE | Concentration of n-propylnitrate (C3H7NO3) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
97 | oXylene_ppbv | o_Xylene_WAS | FALSE |  | InChI=1S/C8H10/c1-7-5-3-4-6-8(7)2/h3-6H,1-2H3 | FALSE | TRUE | FALSE | Concentration of o-Xylene (C8H10) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
98 | x135tmBenzene_ppbv | x135_TriMethylBenzene_WAS | FALSE |  | InChI=1S/C9H12O3/c1-10-7-4-8(11-2)6-9(5-7)12-3/h4-6H,1-3H3 | FALSE | TRUE | FALSE | Concentration of 1-3-5 trimethyl Benzene (C9H12) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
99 | x224TriMePentane_ppbv | x224_TriMethylPentane_WAS | FALSE |  | InChI=1S/C8H18/c1-7(2)6-8(3,4)5/h7H,6H2,1-5H3 | FALSE | TRUE | FALSE | Concentration of 2-2-4-tri methyl pentane (C8H18) in dry air | Gas | ppbv | ppbv | WAS | Whole air samplers (canisters) with offline analysis via GC-MS |  | Jessica Gilman (jessica.gilman@noaa.gov) and Victoria Treadaway | NOAA Chemical Sciences Laboratory and CIRES at University of Colorado | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
100 | RelHumidity_pct | RH_percent | FALSE |  |  | FALSE | FALSE | FALSE | Relative Humidity as a percentage |  | percent | percent | MetNav | Mobile Lab MetNav Station (Airmar) |  | Carrie Womack (caroline.womack@noaa.gov), Nate Howard, Mike Zucker | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
101 | AOD_500nm | AOD | FALSE |  |  | FALSE | FALSE | FALSE | Unitless UTC Daily mean Aerosol Optical Depth at 500nm |  |  |  | jNO2 | Daily mean AOD from AERONET station located at 40.178 N, -112.452 E |  | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
102 | jNO2 | jNO2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of NO2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
103 | jBrCl | jBrCl | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of BrCl |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
104 | jBr2 | jBr2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of Br2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
105 | jCCl4 | jCCl4 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of CCl4 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
106 | jCH2Oa | jCH2Oa | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of CH2O -> H + HCO |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
107 | jCH2Ob | jCH2Ob | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of CH2O -> H2 + CO |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
108 | jClNO2 | jClNO2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of ClNO2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
109 | jClOa | jClOa | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of ClO -> O + O1D |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
110 | jClOb | jClOb | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of ClO -> O + O3P |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
111 | jCl2 | jCl2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of Cl2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
112 | jHNO2 | jHNO2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of HNO2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
113 | jHNO3 | jHNO3 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of HNO3 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
114 | jI2 | jI2 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of I2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
115 | jNO3a | jNO3a | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of NO3 -> NO + O2 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
116 | jNO3b | jNO3b | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of NO3 -> NO2 + O3P |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
117 | jN2O5 | jN2O5 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of N2O5 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)
118 | jO3 | jO3 | FALSE |  |  | FALSE | FALSE | FALSE | Photolysis rate of O3 |  | calculated in TUV for cloud-free sky with local AOD | s-1 | jNO2 | Mobile Lab (TUV) | Data are preliminary and subject to revision after post-mission calibrations and comparison with TUV. | Elenor Waxman (elenor.waxman@noaa.gov) | NOAA Chemical Sciences Laboratory | NOAA CSL Mobile Lab deployed in Salt Lake City, UT during July-August 2024 for Utah Summer Ozone Study (USOS)