## Mobile_Lab_Measurements
Var_name | Units | InChI | Description | Instrument_short | Instrument_full | IS_VOC | Chemical_formula | Carbon_number | kOH (Permar et al., 2023) (10^-12 cm3 molecs-1 s-1
Br2_CIMS | ppbv | InChI=1S/Br2/c1-2 | Concentration of molecular Bromine (Br2) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
BrO_CIMS | ppbv | InChI=1S/BrO/c1-2 | Concentration of Bromine Monoxide (BrO) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
Cl2_CIMS | ppbv | InChI=1S/Cl2/c1-2 | Concentration of molecular Chlorine (Cl2) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
ClNO2_CIMS | ppbv | InChI=1S/ClNO2/c1-4-2-3 | Nitryl chloride (ClNO2) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
BrCl_CIMS | ppbv | InChI=1S/BrCl/c1-2 | Bromine chloride (BrCl) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
NCl3_CIMS | ppbv | InChI=1S/Cl3N/c1-4(2)3 | Concentration of Nitrogen Trichloride (NCl3) in ambient air | CIMs-Halogens | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
File_Index | Unitless |  | File Number |  |  | FALSE
NO_LIF | ppbv | InChI=1S/NO/c1-2 | Concentration of Nitric Oxide (NO) in ambient air | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | FALSE
NO2_LIF | ppbv | InChI=1S/NO2/c2-1-3 | Concentration of Nitrogen Dioxide (NO2) in ambient air | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | FALSE
NOy_LIF | ppbv |  | Concentration of Total oxidixed nitrogen (NOy) in ambient air where (NOy=HNO3+N2O5+Organic Nitrates+NO+NO2+...) | NOy-LIF | NOAA LIF (Laser Induced Flourscence) NOx Box | FALSE
ACCURACY_1sigma_NO | ppbv |  | 1 sigma accuracy of Nitric Oxide (NO) concentration from LIF. 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 6% of observed concentration) and zero uncertainties (3 pptv) for NO. | NOy-LIF |  | FALSE
ACCURACY_1sigma_NO2 | ppbv |  | 1 sigma accuracy of Nitrogen Dioxide (NO2) concentration from LIF. 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 9% of observed concentration) and zero uncertainties (20 pptv) for NO2. | NOy-LIF |  | FALSE
ACCURACY_1sigma_NOy | ppbv |  | 1 sigma accuracy of the total concentration of oxidixed nitrogen (NOy=HNO3+N2O5+Organic Nitrates+NO+NO2+...). 1 Sigma Accuracy waves represent the combined calibration uncertainties (± 10% of observed concentration) and zero uncertainties (100 pptv) for NOy. | NOy-LIF |  | FALSE
N2O5_CIMS | ppbv | InChI=1S/N2O5/c3-1(4)7-2(5)6 | Concentration of Dinitryl Pentoxide (N2O5) in ambient air | CIMS-N2O5 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
C4H7NO5_CIMS | ppbv |  | Total concentration of C4 organic nitrates (MACRN / MVKN) with formula C4H7NO5 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
ISOPN_CIMS | ppbv |  | Total concentration of Isoprene derived nitrates (ISOPN) in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
C5H10O3_CIMS | ppbv |  | Total concentration of C5H10O3 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
C5H9NO5_CIMS | ppbv |  | Total concentration of C5 organic nitrates with formula C5H0NO5 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
C10H17NO4_CIMS | ppbv |  | Total concentration of C10 organic nitrates with formula C10H17NO4 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
HNO3_CIMS | ppbv | InChI=1S/HNO3/c2-1(3)4/h(H,2,3,4) | Concentration of Nitric Acid (HNO3) in ambient air | CIMs-HNO3 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
Methanol_PTR | ppbv | InChI=1S/CH4O/c1-2/h2H,1H3 | Concentration of Methanol (CH3OH) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 0.8
Acetonitrile_PTR | ppbv | InChI=1S/C2H3N/c1-2-3/h1H3 | Concentration of Acetonitrile (CH3CN) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 0
Acetaldehyde_PTR | ppbv | InChI=1S/C2H4O/c1-2-3/h2H,1H3 | Concentration of Acetaldehyde (CH3CHO) plus contributions from ethylene glycol and ethylene oxide in ambient air. Interference from ethanol has been subtracted out. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 15
Ethanol_PTR | ppbv | InChI=1S/C2H6O/c1-2-3/h3H,2H2,1H3 | Concentration of Ethanol (C2H5OH) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 3.2
Methanethiol_PTR | ppbv | InChI=1S/CH4S/c1-2/h2H,1H3 | Concentration of Methanethiol (CH3SH) in ambient air, calibrated using factor for DMS. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
Acrolein_PTR | ppbv | InChI=1S/C3H4O/c1-2-3-4/h2-3H,1H2 | Concentration of Acrolein (C3H4O) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 20
Acetone_Propanal_PTR | ppbv |  | Total concentration of Acetone & Propanal (C3H6O) in ambient air calibrated using calibration factor for acetone | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 0.2
DMS_PTR | ppbv | InChI=1S/C2H6S/c1-3-2/h1-2H3 | Concentration of Dimethyl sulfide (DMS) (C2H6S) with possible small contributions from ethanethiol in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 6
Isoprene_PTR | ppbv | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | Concentration of Isoprene (C5H8) in ambient air and possible fragments from cycloalkanes and aldehydes. Interferences have been subtracted following methods described by Coggon et al (2023) | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 100
MVK_MACR_PTR | ppbv |  | Total concentration of MVK (methyl vinyl ketone) and MACR (methacrolein) and small amounts of crotonaldehyde in ambient air (C4H6O). Calibrated using using weighted calibration factor for MVK (0.637) and MACR (0.363). | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 24.8
Benzene_PTR | ppbv | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | Concentration of Benzene (C6H6) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 1.2
Toluene_PTR | ppbv | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | Concentration of Toluene (C7H8) in ambient air with possible fragments from ethyltoluene. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 5.6
Styrene_PTR | ppbv | InChI=1S/C8H8/c1-2-8-6-4-3-5-7-8/h2-7H,1H2 | Concentration of Styrene (C8H8) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
Benzaldehyde_PTR | ppbv | InChI=1S/C7H6O/c8-6-7-4-2-1-3-5-7/h1-6H | Concentration of Benzaldehyde (C7H6O) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 12
C8Aromatics_PTR | ppbv |  | Total Concentration of m-xylene p-xylene o-xylene and ethyl benzene (C8H10) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
C9Aromatics_PTR | ppbv |  | Total concentration of all C9 Aromatics (C9H12) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  |  | 22
Naphthalene_PTR | ppbv | InChI=1S/C10H8/c1-2-6-10-8-4-3-7-9(10)5-1/h1-8H | Concentration of Naphthalene (C10H8) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
Octanal_PTR | ppbv | InChI=1S/C8H16O/c1-2-3-4-5-6-7-8-9/h8H,2-7H2,1H3 | Concentration of Octanal (C8H16O) and small amounts of octanone in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
Monoterpenes_PTR | ppbv |  | Concentration of total Monoterpenes (C10H16) in ambient air with possible contributions from framents of oxygenated monoterpenoids such as eucalyptol | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
Nonanal_PTR | ppbv | InChI=1S/C9H18O/c1-2-3-4-5-6-7-8-9-10/h9H,2-8H2,1H3 | Concentration of Nonanal (C9H18O) & small amonts of nonaone in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE
C7H4ClF3_PTR | ppbv | InChI=1S/C7H4ClF3/c8-6-3-1-5(2-4-6)7(9,10)11/h1-4H | Concentration of Para-chlorobenzotrifluoride (C7H4ClF3) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | FALSE
D5_siloxane_PTR | ppbv | InChI=1S/C10H30O5Si5/c1-16(2)11-17(3,4)13-19(7,8)15-20(9,10)14-18(5,6)12-16/h1-10H3 | Concentration of Decamethylcyclopentasiloxane (C10H30O5Si5) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | FALSE
PAN_CIMS | ppbv | InChI=1S/C2H3NO5/c1-2(4)7-8-3(5)6/h1H3 | Concentration of Peroxy-Acetyl Nitrate (PAN) in ambient air | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
APAN_CIMS | ppbv | InChI=1S/C6H3NO7/c1-3(6(9)13-7(10)11)5(8)4-2-12-14-4/h2H,1H2 | Concentration of Peroxy-Acryloyl Nitrate (APAN) in ambient air | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
PPN_CIMS | ppbv | InChI=1S/C3H5NO5/c1-2-3(5)8-9-4(6)7/h2H2,1H3 | Concentration of Peroxy-Propionyl Nitrate (PPN) in ambient air | CIMs-PANs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE
HCOOH_CIMS | ppbv | InChI=1S/CH2O2/c2-1-3/h1H,(H,2,3) | Concentration of Formic Acid HCOOH) in ambient air | CIMs-HCOOH | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE |  |  | 0.4
HONO_CIMS | ppbv | InChI=1S/HNO2/c2-1-3/h(H,2,3) | Concentration of Nitrous acid (HONO) in ambient air | CIMs-HNO2 | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | FALSE
O3_ppbv | ppbv | InChI=1S/O3/c1-3-2 | Concentration of Ozone (O3) in ambient air | O3 | 2B Tech O3 UV Analyzer | FALSE
Altitude_m | m |  | Altitude | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
Course_deg | degrees |  | Course | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
GndSpd_ms | m/s |  | Ground Speed | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
Heading_deg | degrees |  | Heading | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
Lat | degrees N |  | Latitude | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
Lon | degrees E |  | Longitude | MetNav | Mobile Lab MetNav Station (Differiential GPS) | FALSE
Temp_K | Celsius |  | Ambient Air Temperature | MetNav | Mobile Lab MetNav Station | FALSE
Pressure_mb | mbar |  | Ambient Pressure | MetNav | Mobile Lab MetNav Station | FALSE
WindDir_deg | degrees |  | Wind direction (corrected for van movement) | MetNav | Mobile Lab MetNav Station | FALSE
WindSpd_ms | m/s |  | Windspeed (corrected for van movement) | MetNav | Mobile Lab MetNav Station | FALSE
jNO2_meas | s-1 |  | Photolysis rate of NO2 | jNO2 | Filter radiometer on Mobile Lab | FALSE
CO2_Piccaro | ppbv | InChI=1S/CO2/c2-1-3 | Concentration of Carbon Dioxide (CO2) in dry air | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | FALSE
CH4_Piccaro | ppbv | InChI=1S/CH4/h1H4 | Concentration of Methane (CH4) in dry air | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | FALSE
CO_Piccaro | ppbv | InChI=1S/CO/c1-2 | Concentration of Carbon Monoxide (CO) in dry air | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | FALSE
H2O_Piccaro | ppbv | InChI=1S/H2O/h1H2 | Concentration of Water vapor (H2O) in dry air | Picarro | Picarro 2401-m CO2, CH4, CO, H2O Analyzer | FALSE
HCHO_CRDS | ppbv | InChI=1S/CH2O/c1-2/h1H2 | Concentration of Formaldehyde (HCHO) | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | TRUE |  |  | 8.5
H2O_CRDS | ppbv | InChI=1S/H2O/h1H2 | Concentration of Water vapor (H2O) | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | FALSE
CH4_CRDS | ppbv | InChI=1S/CH4/h1H4 | Concentration of Methane (CH4) | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | FALSE
Time_Start_WAS | s |  | Start measurement Seconds since 0000 UTC | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | FALSE
Time_Stop_WAS | s |  | Stop measurement Seconds since 0000 UTC | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | FALSE
Time_Mid_WAS | s |  | Midpoint measurement Seconds since 0000 UTC | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | FALSE
Acetone_WAS | ppbv | InChI=1S/C3H6O/c1-3(2)4/h1-2H3 | Concentration of Acetone (C3H6O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 0.2
Acrolein_WAS | ppbv | InChI=1S/C3H4O/c1-2-3-4/h2-3H,1H2 | Concentration of Acrolein (C3H4O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 20
Benzene_WAS | ppbv | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | Concentration of Benzene (C6H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 1.2
C2Cl4_WAS | ppbv | InChI=1S/C2Cl4/c3-1(4)2(5)6 | Concentration of Tetrachloroethylene (C2Cl4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
C2HCl3_WAS | ppbv | InChI=1S/C2HCl3/c3-1-2(4)5/h1H | Concentration of Tricholorethylene (C2HCl3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CCl4_WAS | ppbv | InChI=1S/CCl4/c2-1(3,4)5 | Concentration of CarbonTetra Chloride (CCl4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CF2Cl2_WAS | ppbv | InChI=1S/CCl2F2/c2-1(3,4)5 | Concentration of Dichlorodifluoromethane(CF2Cl2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CFCl3_WAS | ppbv | InChI=1S/CCl3F/c2-1(3,4)5 | Concentration of Trichlorofluoromethane (CFCl3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CH2Cl2_WAS | ppbv | InChI=1S/CH2Cl2/c2-1-3/h1H2 | Concentration of Dichloromethane (CH2Cl2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CH3Br_WAS | ppbv | InChI=1S/CH3Br/c1-2/h1H3 | Concentration of Methyl Bromide (CH3Br) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
CycloPentane_WAS | ppbv | InChI=1S/C5H10/c1-2-4-5-3-1/h1-5H2 | Concentration of Cyclopentane (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
Ethyl_WAS | ppbv | InChI=1S/C8H10/c1-2-8-6-4-3-5-7-8/h3-7H,2H2,1H3 | Concentraiton of Ethyl Benzene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 13.2
Ethane_WAS | ppbv | InChI=1S/C2H6/c1-2/h1-2H3 | Concenatrate of Ethane (C2H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 0.24
Ethene_WAS | ppbv | InChI=1S/C2H4/c1-2/h1-2H2 | Concentration of Ethene (C2H4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 7.8
Ethyne_WAS | ppbv | InChI=1S/C2H2/c1-2/h1-2H | Concentration of Ethyne (C2H2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 1
Furan_WAS | ppbv | InChI=1S/C4H4O/c1-2-4-5-3-1/h1-4H | Concentration of Furfuran (C4H4O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 40
Isoprene_WAS | ppbv | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | Concentration of Isoprene (C5H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 162.8
Limonene_WAS | ppbv | InChI=1S/C10H16/c1-8(2)10-6-4-9(3)5-7-10/h4,10H,1,5-7H2,2-3H3 | Concentration of Limonene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
MACR_WAS | ppbv | InChI=1S/C4H6O/c1-4(2)3-5/h3H,1H2,2H3 | Concentration of Methacrolein (MACR), (C4H6O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
MethylCycloHexane_WAS | ppbv | InChI=1S/C7H14/c1-7-5-3-2-4-6-7/h7H,2-6H2,1H3 | Concentration of Methylcyclohexane (C7H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 11
MethylCycloPentane_WAS | ppbv | InChI=1S/C6H12/c1-6-4-2-3-5-6/h6H,2-5H2,1H3 | Concentration of Methylcyclopentane (C6H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
Propane_WAS | ppbv | InChI=1S/C3H8/c1-3-2/h3H2,1-2H3 | Concentration of Propane (C3H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 1.09
Propene_WAS | ppbv | InChI=1S/C3H6/c1-3-2/h3H,1H2,2H3 | Concentration of Propene (C3H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 30
Toluene_WAS | ppbv | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | Concentration of Toluene (C7H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 5.6
Alpha_Pinene_WAS | ppbv | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h4,8-9H,5-6H2,1-3H3 | Concentration of alpha-Pinene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 162.8
Beta_Pinene_WAS | ppbv | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h8-9H,1,4-6H2,2-3H3 | Concentration of beta-Pinene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 162.8
c2Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3- | Concentration of cis-2-butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 31.8
c2Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3- | Concentration of cis-2-pentane (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
iButane_WAS | ppbv | InChI=1S/C4H10/c1-4(2)3/h4H,1-3H3 | Concentration of iso-butane (C4H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 2.3
iPentane_WAS | ppbv | InChI=1S/C5H12/c1-4-5(2)3/h5H,4H2,1-3H3 | Concentration of iso-Pentane (C5H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 3.9
iPropylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-8(2)9-6-4-3-5-7-9/h3-8H,1-2H3 | Concentration of isopropyl benzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
iPropylONO2_WAS | ppbv | InChI=1S/C3H7NO3/c1-3(2)7-4(5)6/h3H,1-2H3 | Concentration of isopropyl nitrate (C3H7NO3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 0.42
m_p_Xylene_WAS | ppbv | InChI=1S/C8H10/c1-7-4-3-5-8(2)6-7/h3-6H,1-2H3 | Total concentration of m-Xylene and p-Xylene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 13.2
nButane_WAS | ppbv | InChI=1S/C4H10/c1-3-4-2/h3-4H2,1-2H3 | Concentration of n-Butane (C4H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 2.4
nDecane_WAS | ppbv | InChI=1S/C10H22/c1-3-5-7-9-10-8-6-4-2/h3-10H2,1-2H3 | Concentration of n-Decane (C10H22) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
nHeptane_WAS | ppbv | InChI=1S/C7H16/c1-3-5-7-6-4-2/h3-7H2,1-2H3 | Concentration of n-Heptane (C7H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 7.11
nHexane_WAS | ppbv | InChI=1S/C6H14/c1-3-5-6-4-2/h3-6H2,1-2H3 | Concentration of n-Hexane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 5.4
nNonane_WAS | ppbv | InChI=1S/C9H20/c1-3-5-7-9-8-6-4-2/h3-9H2,1-2H3 | Concentration of n-Nonane (C9H20) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 9.7
nOctane_WAS | ppbv | InChI=1S/C8H18/c1-3-5-7-8-6-4-2/h3-8H2,1-2H3 | Concentraiton of n-Octane (C8H18)in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 8.11
nPentane_WAS | ppbv | InChI=1S/C5H12/c1-3-5-4-2/h3-5H2,1-2H3 | Concentration of n-Penane (C5H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 3.9
nPropylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-2-6-9-7-4-3-5-8-9/h3-5,7-8H,2,6H2,1H3 | Concentration of n-Propylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
nPropylONO2_WAS | ppbv | InChI=1S/C3H7NO3/c1-2-3-7-4(5)6/h2-3H2,1H3 | Concentration of n-Propylnitrate (C3H7NO3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 0.73
o_Xylene_WAS | ppbv | InChI=1S/C8H10/c1-7-5-3-4-6-8(7)2/h3-6H,1-2H3 | Concentration of o-Xylene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
t2Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3+ | Concentration of trans-2-butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 31.8
t2Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3+ | Concentration of trans-2-pentene (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x123_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-7-5-4-6-8(2)9(7)3/h4-6H,1-3H3 | Concentration of 1,2,3-Trimethylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x124_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-7-4-5-8(2)9(3)6-7/h4-6H,1-3H3 | Concentration of 1,2,4-Trimethylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x135_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12O3/c1-10-7-4-8(11-2)6-9(5-7)12-3/h4-6H,1-3H3 | Concentration of 1-3-5 trimethyl Benzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x13_Butadiene_WAS | ppbv | InChI=1S/C4H6/c1-3-4-2/h3-4H,1-2H2 | Concentration of 1,3-Butadiene (C4H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 58.8
x1_Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3H,1,4H2,2H3 | Concentration of 1-Butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 31.8
x1_Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3H,1,4-5H2,2H3 | Concentration of 1-Pentene (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x224_TriMethylPentane_WAS | ppbv | InChI=1S/C8H18/c1-7(2)6-8(3,4)5/h7H,6H2,1-5H3 | Concentration of 2,2,4-tri methyl pentane (C8H18) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 5.4
x22_DiMethylButane_WAS | ppbv | InChI=1S/C6H14/c1-5-6(2,3)4/h5H2,1-4H3 | Concentration of 2,2-Dimethylbutane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 5.95
x2_EthylToluene_WAS | ppbv | InChI=1S/C9H12/c1-3-9-7-5-4-6-8(9)2/h4-7H,3H2,1-2H3 | Concentration of 2-Ethyltoluene (C9H12) | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x2_MethylPentane_WAS | ppbv | InChI=1S/C6H14/c1-4-5-6(2)3/h6H,4-5H2,1-3H3 | Concentration of 2-Methylpentane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
x3_MethylPentane_WAS | ppbv | InChI=1S/C6H14/c1-4-6(3)5-2/h6H,4-5H2,1-3H3 | Concentration of 3-Methylpentane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  |  | 5.45
x3_x4_EthylToluene_WAS | ppbv | InChI=1S/C9H12/c1-3-9-6-4-5-8(2)7-9/h4-7H,3H2,1-2H3;InChI=1S/C9H12/c1-3-9-6-4-8(2)5-7-9/h4-7H,3H2,1-2H3 | Concentration of 3-Ethyltoluene (C9H12), 4-Ethyltoluene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE
RH_percent | percent |  | Relative Humidity as a percentage | MetNav | Mobile Lab MetNav Station (Airmar) | FALSE
AOD | Unitless |  | Unitless UTC Daily mean Aerosol Optical Depth at 500nm | jNO2 | Daily mean AOD from AERONET station located at 40.178 N, -112.452 E | FALSE
jNO2 | s-1 |  | Photolysis rate of NO2 | jNO2 | Mobile Lab (TUV) | FALSE
jBrCl | s-1 |  | Photolysis rate of BrCl | jNO2 | Mobile Lab (TUV) | FALSE
jBr2 | s-1 |  | Photolysis rate of Br2 | jNO2 | Mobile Lab (TUV) | FALSE
jCCl4 | s-1 |  | Photolysis rate of CCl4 | jNO2 | Mobile Lab (TUV) | FALSE
jCH2Oa | s-1 |  | Photolysis rate of CH2O -> H + HCO | jNO2 | Mobile Lab (TUV) | FALSE
jCH2Ob | s-1 |  | Photolysis rate of CH2O -> H2 + CO | jNO2 | Mobile Lab (TUV) | FALSE
jClNO2 | s-1 |  | Photolysis rate of ClNO2 | jNO2 | Mobile Lab (TUV) | FALSE
jClOa | s-1 |  | Photolysis rate of ClO -> O + O1D | jNO2 | Mobile Lab (TUV) | FALSE
jClOb | s-1 |  | Photolysis rate of ClO -> O + O3P | jNO2 | Mobile Lab (TUV) | FALSE
jCl2 | s-1 |  | Photolysis rate of Cl2 | jNO2 | Mobile Lab (TUV) | FALSE
jHNO2 | s-1 |  | Photolysis rate of HNO2 | jNO2 | Mobile Lab (TUV) | FALSE
jHNO3 | s-1 |  | Photolysis rate of HNO3 | jNO2 | Mobile Lab (TUV) | FALSE
jI2 | s-1 |  | Photolysis rate of I2 | jNO2 | Mobile Lab (TUV) | FALSE
jNO3a | s-1 |  | Photolysis rate of NO3 -> NO + O2 | jNO2 | Mobile Lab (TUV) | FALSE
jNO3b | s-1 |  | Photolysis rate of NO3 -> NO2 + O3P | jNO2 | Mobile Lab (TUV) | FALSE
jN2O5 | s-1 |  | Photolysis rate of N2O5 | jNO2 | Mobile Lab (TUV) | FALSE
jO3 | s-1 |  | Photolysis rate of O3 | jNO2 | Mobile Lab (TUV) | FALSE
Time_Start_POPS | s |  | Start measurement Seconds since 0000 UTC | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Time_Stop_POPS | s |  | Stop measurement Seconds since 0000 UTC | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Press_mb_POPS | mbar |  | Pressure reported (mb) | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Temp_C_POPS | Celsius |  | POPS temperature measurement | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Aerosol_conc_POPS | cm-3 |  | Aerosol concentration | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Surface_area_conc_POPS | um2 cm-3 |  | cm-3 Surface area concentration | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Volume_density_POPS | um3 cm-3 |  | cm-3 Volume density | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Effective_radius_POPS | um |  | Effective radius | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Extinction_POPS | km-1 |  | Extinction | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin01_POPS | cm-3 |  | Particle concentration in size range [1401 - 146.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin02_POPS | cm-3 |  | Particle concentration in size range [146.3 - 152.8 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin03_POPS | cm-3 |  | Particle concentration in size range [152.8 - 159.6 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin04_POPS | cm-3 |  | Particle concentration in size range [159.6 - 166.8 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin05_POPS | cm-3 |  | Particle concentration in size range [166.8 - 174.2 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin06_POPS | cm-3 |  | Particle concentration in size range [174.2 - 181.9 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin07_POPS | cm-3 |  | Particle concentration in size range [181.9 - 190.0 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin08_POPS | cm-3 |  | Particle concentration in size range [190.0 - 198.5 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin09_POPS | cm-3 |  | Particle concentration in size range [198.5 - 207.4 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin10_POPS | cm-3 |  | Particle concentration in size range [207.4 - 216.6 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin11_POPS | cm-3 |  | Particle concentration in size range [216.6 - 226.2 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin12_POPS | cm-3 |  | Particle concentration in size range [226.2 - 236.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin13_POPS | cm-3 |  | Particle concentration in size range [236.3 - 246.8 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin14_POPS | cm-3 |  | Particle concentration in size range [246.8 - 257.8 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin15_POPS | cm-3 |  | Particle concentration in size range [257.8 - 269.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin16_POPS | cm-3 |  | Particle concentration in size range [269.3 - 343.4 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin17_POPS | cm-3 |  | Particle concentration in size range [343.4 - 450.7 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin18_POPS | cm-3 |  | Particle concentration in size range [450.7 - 525.9 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin19_POPS | cm-3 |  | Particle concentration in size range [525.9 - 618.5 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin20_POPS | cm-3 |  | Particle concentration in size range [618.5 - 710.0 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin21_POPS | cm-3 |  | Particle concentration in size range [710.0 - 822.7 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin22_POPS | cm-3 |  | Particle concentration in size range [822.7 - 885.9 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin23_POPS | cm-3 |  | Particle concentration in size range [885.9 - 953.9 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin24_POPS | cm-3 |  | Particle concentration in size range [953.9 - 1027.2 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin25_POPS | cm-3 |  | Particle concentration in size range [1027.2 - 1106.1 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin26_POPS | cm-3 |  | Particle concentration in size range [1106.1 - 1191.0 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin27_POPS | cm-3 |  | Particle concentration in size range [1191.0 - 1282.5 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin28_POPS | cm-3 |  | Particle concentration in size range [1282.5 - 1381.0 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin29_POPS | cm-3 |  | Particle concentration in size range [1381.0 - 1487.1 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin30_POPS | cm-3 |  | Particle concentration in size range [1487.1 - 1601.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin31_POPS | cm-3 |  | Particle concentration in size range [1601.3 - 1724.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin32_POPS | cm-3 |  | Particle concentration in size range [1724.3 - 1856.7 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin33_POPS | cm-3 |  | Particle concentration in size range [1856.7 - 1999.3 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin34_POPS | cm-3 |  | Particle concentration in size range [1999.3 - 2152.8 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin35_POPS | cm-3 |  | Particle concentration in size range [2152.8 - 2318.2 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE
Particle_conc_bin36_POPS | cm-3 |  | Particle concentration in size range [2318.2 - 2496.2 nm] | POPS | Portable Optical Particle Spectrometer (POPS) | FALSE

## VOC_koh
Var_name | Units | InChI | Description | Instrument_short | Instrument_full | IS_VOC | Chemical_formula | Carbon_number | kOH (Permar et al., 2023) (10^-12 cm3 molecs-1 s-1 | VarName | InUseVOC | ReasonNotInUse | Grouping1 | EmissionSource
C4H7NO5_CIMS | ppbv |  | Total concentration of C4 organic nitrates (MACRN / MVKN) with formula C4H7NO5 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE | C4H7NO5 | 4
ISOPN_CIMS | ppbv |  | Total concentration of Isoprene derived nitrates (ISOPN) in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE |  | 5 |  | Isoprene Derived Nitrates
C5H10O3_CIMS | ppbv |  | Total concentration of C5H10O3 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE | C5H10O3 | 5
C5H9NO5_CIMS | ppbv |  | Total concentration of C5 organic nitrates with formula C5H9NO5 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE | C5H9NO5 | 5 |  | C5 organic nitrates
C10H17NO4_CIMS | ppbv |  | Total concentration of C10 organic nitrates with formula C10H17NO4 in ambient air | CIMs-OrgNitrs | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE | C10H17NO | 10 |  | C10 organic nitrates
Methanol_PTR | ppbv | InChI=1S/CH4O/c1-2/h2H,1H3 | Concentration of Methanol (CH3OH) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | CH3OH | 1 | 0.8 | Methanol | TRUE |  | Methanol
Acetonitrile_PTR | ppbv | InChI=1S/C2H3N/c1-2-3/h1H3 | Concentration of Acetonitrile (CH3CN) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | CH3CN | 2 | 0 | Acetonitrile | TRUE |  | Other
Acetaldehyde_PTR | ppbv | InChI=1S/C2H4O/c1-2-3/h2H,1H3 | Concentration of Acetaldehyde (CH3CHO) plus contributions from ethylene glycol and ethylene oxide in ambient air. Interference from ethanol has been subtracted out. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | CH3CHO | 2 | 15 | Acetaldehyde | TRUE |  | Acetaldehyde
Ethanol_PTR | ppbv | InChI=1S/C2H6O/c1-2-3/h3H,2H2,1H3 | Concentration of Ethanol (C2H5OH) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C2H5OH | 2 | 3.2 | Ethanol | TRUE |  | Ethanol
Methanethiol_PTR | ppbv | InChI=1S/CH4S/c1-2/h2H,1H3 | Concentration of Methanethiol (CH3SH) in ambient air, calibrated using factor for DMS. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | CH3SH | 1 |  | Methanethiol | TRUE |  | Other
Acrolein_PTR | ppbv | InChI=1S/C3H4O/c1-2-3-4/h2-3H,1H2 | Concentration of Acrolein (C3H4O) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C3H4O | 3 | 20 | Acrolein | TRUE |  | Other Aldehydes
Acetone_Propanal_PTR | ppbv |  | Total concentration of Acetone & Propanal (C3H6O) in ambient air calibrated using calibration factor for acetone | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C3H6O;C3H6O | 3 | 0.2 | Acetone | FALSE | Using WAS | Acetone
DMS_PTR | ppbv | InChI=1S/C2H6S/c1-3-2/h1-2H3 | Concentration of Dimethyl sulfide (DMS) (C2H6S) with possible small contributions from ethanethiol in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C2H6S | 2 | 6 | DMS | TRUE |  | Other
Isoprene_PTR | ppbv | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | Concentration of Isoprene (C5H8) in ambient air and possible fragments from cycloalkanes and aldehydes. Interferences have been subtracted following methods described by Coggon et al (2023) | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C5H8 | 5 | 100 | Isoprene | FALSE | Data issue | Monoterpenes | Biogenic
MVK_MACR_PTR | ppbv |  | Total concentration of MVK (methyl vinyl ketone) and MACR (methacrolein) and small amounts of crotonaldehyde in ambient air (C4H6O). Calibrated using using weighted calibration factor for MVK (0.637) and MACR (0.363). | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE |  | 4 | 24.8 | MVK+MACR | TRUE |  | Other
Benzene_PTR | ppbv | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | Concentration of Benzene (C6H6) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C6H6 | 6 | 1.2 | Benzene | TRUE |  | Aromatics | Traffic
Toluene_PTR | ppbv | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | Concentration of Toluene (C7H8) in ambient air with possible fragments from ethyltoluene. | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C7H8 | 7 | 5.6 | Toluene | TRUE |  | Aromatics | Traffic
Styrene_PTR | ppbv | InChI=1S/C8H8/c1-2-8-6-4-3-5-7-8/h2-7H,1H2 | Concentration of Styrene (C8H8) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C8H8 | 8 |  | Styrene | FALSE | Data Gaps | Aromatics
Benzaldehyde_PTR | ppbv | InChI=1S/C7H6O/c8-6-7-4-2-1-3-5-7/h1-6H | Concentration of Benzaldehyde (C7H6O) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C7H6O | 7 | 12 | Benzaldehyde | FALSE | Data Gaps | Other Aldehydes
C8Aromatics_PTR | ppbv |  | Total Concentration of m-xylene p-xylene o-xylene and ethyl benzene (C8H10) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C8H10 | 8 |  | C8Aromatics | FALSE | Using Ethyl+Xylene WAS | Aromatics
C9Aromatics_PTR | ppbv |  | Total concentration of all C9 Aromatics (C9H12) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C9H12 | 9 | 22 | C9Aromatics | TRUE |  | Aromatics
Naphthalene_PTR | ppbv | InChI=1S/C10H8/c1-2-6-10-8-4-3-7-9(10)5-1/h1-8H | Concentration of Naphthalene (C10H8) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C10H8 | 10 |  | Naphthalene | FALSE | Data Gaps | Aromatics
Octanal_PTR | ppbv | InChI=1S/C8H16O/c1-2-3-4-5-6-7-8-9/h8H,2-7H2,1H3 | Concentration of Octanal (C8H16O) and small amounts of octanone in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C8H16O | 8 |  | Octanal | TRUE |  | Other Aldehydes
Monoterpenes_PTR | ppbv |  | Concentration of total Monoterpenes (C10H16) in ambient air with possible contributions from framents of oxygenated monoterpenoids such as eucalyptol | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C10H16 | 10 |  | Monoterpenes | FALSE |  | Monoterpenes
Nonanal_PTR | ppbv | InChI=1S/C9H18O/c1-2-3-4-5-6-7-8-9-10/h9H,2-8H2,1H3 | Concentration of Nonanal (C9H18O) & small amonts of nonaone in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | TRUE | C9H18O | 9 |  | Nonanal | TRUE |  | Other Aldehydes
D5_siloxane_PTR | ppbv | InChI=1S/C10H30O5Si5/c1-16(2)11-17(3,4)13-19(7,8)15-20(9,10)14-18(5,6)12-16/h1-10H3 | Concentration of Decamethylcyclopentasiloxane (C10H30O5Si5) in ambient air | PTR | NOAA PTR-ToF-MS (Proton Transfer Reaction Time-of-Flight Mass Spectromter) | FALSE | C10H30O5Si5 | 10 |  | D5 siloxane | TRUE |  | Other
HCOOH_CIMS | ppbv | InChI=1S/CH2O2/c2-1-3/h1H,(H,2,3) | Concentration of Formic Acid HCOOH) in ambient air | CIMs-HCOOH | NOAA I- ToF-CIMS (Iodide Chemical Ionization Time-of-Flight Mass Spectrometer) | TRUE | HCOOH | 1 | 0.4 | Formic Acid | TRUE |  | Organic Acids
HCHO_CRDS | ppbv | InChI=1S/CH2O/c1-2/h1H2 | Concentration of Formaldehyde (HCHO) | HCHO | Piccaro G2307 (Cavity Rind Down Spectrometer) | TRUE | CH2O | 1 | 8.5 | Formaldehyde | TRUE |  | Formaldehyde
Acetone_WAS | ppbv | InChI=1S/C3H6O/c1-3(2)4/h1-2H3 | Concentration of Acetone (C3H6O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H6O | 3 | 0.2 | Acetone | TRUE |  | Acetone
Acrolein_WAS | ppbv | InChI=1S/C3H4O/c1-2-3-4/h2-3H,1H2 | Concentration of Acrolein (C3H4O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H4O | 3 | 20 | Acrolein | FALSE | Using PTR | Other Aldehydes
Benzene_WAS | ppbv | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H | Concentration of Benzene (C6H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H6 | 6 | 1.2 | Benzene | FALSE | Using PTR | Aromatics | Traffic
C2Cl4_WAS | ppbv | InChI=1S/C2Cl4/c3-1(4)2(5)6 | Concentration of Tetrachloroethylene (C2Cl4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C2Cl4 | 2 |  | Tetrachloroethylene | TRUE |  | Other
C2HCl3_WAS | ppbv | InChI=1S/C2HCl3/c3-1-2(4)5/h1H | Concentration of Tricholorethylene (C2HCl3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C2HCl3 | 2 |  | Trichloroethylene | TRUE |  | Other
CCl4_WAS | ppbv | InChI=1S/CCl4/c2-1(3,4)5 | Concentration of CarbonTetra Chloride (CCl4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | CCl4 | 2 |  | Tetrachloromethane | TRUE |  | Other
CF2Cl2_WAS | ppbv | InChI=1S/CCl2F2/c2-1(3,4)5 | Concentration of Dichlorodifluoromethane(CF2Cl2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | CF2Cl2 | 1 |  | Dichlorodifluoromethane | TRUE |  | Other
CFCl3_WAS | ppbv | InChI=1S/CCl3F/c2-1(3,4)5 | Concentration of Trichlorofluoromethane (CFCl3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | CFCl3 | 1 |  | Trichlorofluoromethane | TRUE |  | Other
CH2Cl2_WAS | ppbv | InChI=1S/CH2Cl2/c2-1-3/h1H2 | Concentration of Dichloromethane (CH2Cl2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | CH2Cl2 | 1 |  | Dichloromethane | TRUE |  | Other | Solvent
CH3Br_WAS | ppbv | InChI=1S/CH3Br/c1-2/h1H3 | Concentration of Methyl Bromide (CH3Br) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | CH3Br | 1 |  | Methyl Bromide | TRUE |  | Other
CycloPentane_WAS | ppbv | InChI=1S/C5H10/c1-2-4-5-3-1/h1-5H2 | Concentration of Cyclopentane (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H10 | 5 |  | Cyclopentane | TRUE |  | Alkanes
Ethyl_WAS | ppbv | InChI=1S/C8H10/c1-2-8-6-4-3-5-7-8/h3-7H,2H2,1H3 | Concentraiton of Ethyl Benzene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C8H10 | 8 | 13.2 | Ethylbenzene | TRUE |  | Aromatics
Ethane_WAS | ppbv | InChI=1S/C2H6/c1-2/h1-2H3 | Concenatrate of Ethane (C2H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C2H6 | 2 | 0.24 | Ethane | TRUE |  | Ethane
Ethene_WAS | ppbv | InChI=1S/C2H4/c1-2/h1-2H2 | Concentration of Ethene (C2H4) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C2H4 | 2 | 7.8 | Ethene/Ethylene | TRUE |  | Ethene
Ethyne_WAS | ppbv | InChI=1S/C2H2/c1-2/h1-2H | Concentration of Ethyne (C2H2) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C2H2 | 2 | 1 | Ethyne/Acetylene | TRUE |  | Other Alkenes
Furan_WAS | ppbv | InChI=1S/C4H4O/c1-2-4-5-3-1/h1-4H | Concentration of Furfuran (C4H4O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H4O | 4 | 40 | Furan | TRUE |  | Furanoids
Isoprene_WAS | ppbv | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3 | Concentration of Isoprene (C5H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H8 | 5 | 162.8 | Isoprene | TRUE |  | Monoterpenes | Biogenic
Limonene_WAS | ppbv | InChI=1S/C10H16/c1-8(2)10-6-4-9(3)5-7-10/h4,10H,1,5-7H2,2-3H3 | Concentration of Limonene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE |  | 19 |  | Limonene | FALSE |  | Monoterpenes | Biogenic
MACR_WAS | ppbv | InChI=1S/C4H6O/c1-4(2)3-5/h3H,1H2,2H3 | Concentration of Methacrolein (MACR), (C4H6O) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H6O | 4 |  | Methacrolein | FALSE | Using MVK+MACR PTR | Other
MethylCycloHexane_WAS | ppbv | InChI=1S/C7H14/c1-7-5-3-2-4-6-7/h7H,2-6H2,1H3 | Concentration of Methylcyclohexane (C7H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C7H14 | 7 | 11 | Methylcyclohexane | TRUE |  | Other Alkanes
MethylCycloPentane_WAS | ppbv | InChI=1S/C6H12/c1-6-4-2-3-5-6/h6H,2-5H2,1H3 | Concentration of Methylcyclopentane (C6H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H12 | 6 |  | Methylcyclopentane | TRUE |  | Alkanes
Propane_WAS | ppbv | InChI=1S/C3H8/c1-3-2/h3H2,1-2H3 | Concentration of Propane (C3H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H8 | 3 | 1.09 | Propane | TRUE |  | Propane
Propene_WAS | ppbv | InChI=1S/C3H6/c1-3-2/h3H,1H2,2H3 | Concentration of Propene (C3H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H6 | 3 | 30 | Propene/Propylene | TRUE |  | Propene
Toluene_WAS | ppbv | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3 | Concentration of Toluene (C7H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C7H8 | 7 | 5.6 | Toluene | FALSE | Using PTR | Aromatics
Alpha_Pinene_WAS | ppbv | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h4,8-9H,5-6H2,1-3H3 | Concentration of alpha-Pinene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C10H16 | 10 | 162.8 | Alpha-pinene | TRUE |  | Monoterpenes | Biogenic
Beta_Pinene_WAS | ppbv | InChI=1S/C10H16/c1-7-4-5-8-6-9(7)10(8,2)3/h8-9H,1,4-6H2,2-3H3 | Concentration of beta-Pinene (C10H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C10H16 | 10 | 162.8 | Beta-pinene | TRUE |  | Monoterpenes | Biogenic
c2Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3- | Concentration of cis-2-butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H8 | 4 | 31.8 | cis-2-butene | TRUE |  | Butenes
c2Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3- | Concentration of cis-2-pentane (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H10 | 5 |  | cis-2-pentene | TRUE |  | Other Alkenes
iButane_WAS | ppbv | InChI=1S/C4H10/c1-4(2)3/h4H,1-3H3 | Concentration of iso-butane (C4H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H10 | 4 | 2.3 | Isobutane | TRUE |  | Other Alkanes
iPentane_WAS | ppbv | InChI=1S/C5H12/c1-4-5(2)3/h5H,4H2,1-3H3 | Concentration of iso-Pentane (C5H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H12 | 5 | 3.9 | Isopentane | TRUE |  | Other Alkanes
iPropylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-8(2)9-6-4-3-5-7-9/h3-8H,1-2H3 | Concentration of isopropyl benzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | Isopropylbenzene | FALSE | C9 Aromatics | Aromatics
iPropylONO2_WAS | ppbv | InChI=1S/C3H7NO3/c1-3(2)7-4(5)6/h3H,1-2H3 | Concentration of isopropyl nitrate (C3H7NO3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H7NO3 | 3 | 0.42 | Isopropyl nitrate | TRUE |  | Other
m_p_Xylene_WAS | ppbv | InChI=1S/C8H10/c1-7-4-3-5-8(2)6-7/h3-6H,1-2H3 | Total concentration of m-Xylene and p-Xylene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C8H10 | 8 | 13.2 | m/p-Xylene | TRUE |  | Aromatics | Traffic
nButane_WAS | ppbv | InChI=1S/C4H10/c1-3-4-2/h3-4H2,1-2H3 | Concentration of n-Butane (C4H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H10 | 4 | 2.4 | Butane | TRUE |  | Other Alkanes
nDecane_WAS | ppbv | InChI=1S/C10H22/c1-3-5-7-9-10-8-6-4-2/h3-10H2,1-2H3 | Concentration of n-Decane (C10H22) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C10H22 | 10 |  | Decane | TRUE |  | Other Alkanes
nHeptane_WAS | ppbv | InChI=1S/C7H16/c1-3-5-7-6-4-2/h3-7H2,1-2H3 | Concentration of n-Heptane (C7H16) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C7H16 | 7 | 7.11 | Heptane | TRUE |  | Other Alkanes
nHexane_WAS | ppbv | InChI=1S/C6H14/c1-3-5-6-4-2/h3-6H2,1-2H3 | Concentration of n-Hexane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H14 | 6 | 5.4 | Hexane | TRUE |  | Other Alkanes
nNonane_WAS | ppbv | InChI=1S/C9H20/c1-3-5-7-9-8-6-4-2/h3-9H2,1-2H3 | Concentration of n-Nonane (C9H20) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H20 | 9 | 9.7 | Nonane | TRUE |  | Other Alkanes
nOctane_WAS | ppbv | InChI=1S/C8H18/c1-3-5-7-8-6-4-2/h3-8H2,1-2H3 | Concentraiton of n-Octane (C8H18)in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C8H18 | 8 | 8.11 | Octane | TRUE |  | Other Alkanes
nPentane_WAS | ppbv | InChI=1S/C5H12/c1-3-5-4-2/h3-5H2,1-2H3 | Concentration of n-Penane (C5H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H12 | 5 | 3.9 | Pentane | TRUE |  | Other Alkanes
nPropylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-2-6-9-7-4-3-5-8-9/h3-5,7-8H,2,6H2,1H3 | Concentration of n-Propylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | Propylbenzene | FALSE | C9 Aromatics | Aromatics
nPropylONO2_WAS | ppbv | InChI=1S/C3H7NO3/c1-2-3-7-4(5)6/h2-3H2,1H3 | Concentration of n-Propylnitrate (C3H7NO3) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C3H7NO3 | 3 | 0.73 | Propyl nitrate | FALSE | Data Gaps | Other
o_Xylene_WAS | ppbv | InChI=1S/C8H10/c1-7-5-3-4-6-8(7)2/h3-6H,1-2H3 | Concentration of o-Xylene (C8H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C8H10 | 8 |  | o-Xylene | TRUE |  | Aromatics | Traffic
t2Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3+ | Concentration of trans-2-butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H8 | 4 | 31.8 | trans-2-Butene | TRUE |  | Butenes
t2Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3+ | Concentration of trans-2-pentene (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H10 | 5 |  | trans-2-Pentene | TRUE |  | Alkenes
x123_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-7-5-4-6-8(2)9(7)3/h4-6H,1-3H3 | Concentration of 1,2,3-Trimethylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | 1,2,3-Trimethylbenzene | FALSE | C9 Aromatics | Aromatics
x124_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12/c1-7-4-5-8(2)9(3)6-7/h4-6H,1-3H3 | Concentration of 1,2,4-Trimethylbenzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | 1,2,4-Trimethylbenzene | FALSE | C9 Aromatics | Aromatics
x135_TriMethylBenzene_WAS | ppbv | InChI=1S/C9H12O3/c1-10-7-4-8(11-2)6-9(5-7)12-3/h4-6H,1-3H3 | Concentration of 1-3-5 trimethyl Benzene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | 1,3,5-Trimethylbenzene | FALSE | C9 Aromatics | Aromatics
x13_Butadiene_WAS | ppbv | InChI=1S/C4H6/c1-3-4-2/h3-4H,1-2H2 | Concentration of 1,3-Butadiene (C4H6) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H6 | 4 | 58.8 | 1,3-Butadiene | TRUE |  | Other
x1_Butene_WAS | ppbv | InChI=1S/C4H8/c1-3-4-2/h3H,1,4H2,2H3 | Concentration of 1-Butene (C4H8) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C4H8 | 4 | 31.8 | 1-Butene | TRUE |  | Butenes
x1_Pentene_WAS | ppbv | InChI=1S/C5H10/c1-3-5-4-2/h3H,1,4-5H2,2H3 | Concentration of 1-Pentene (C5H10) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C5H10 | 5 |  | 1-Pentene | TRUE |  | Other Alkenes
x224_TriMethylPentane_WAS | ppbv | InChI=1S/C8H18/c1-7(2)6-8(3,4)5/h7H,6H2,1-5H3 | Concentration of 2,2,4-tri methyl pentane (C8H18) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C8H18 | 8 | 5.4 | 2,2,4-Trimethylpentane | TRUE |  | Other Alkanes
x22_DiMethylButane_WAS | ppbv | InChI=1S/C6H14/c1-5-6(2,3)4/h5H2,1-4H3 | Concentration of 2,2-Dimethylbutane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H14 | 6 | 5.95 | 2,2-Dimethylbutane | TRUE |  | Other Alkanes
x2_EthylToluene_WAS | ppbv | InChI=1S/C9H12/c1-3-9-7-5-4-6-8(9)2/h4-7H,3H2,1-2H3 | Concentration of 2-Ethyltoluene (C9H12) | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | o-Ethyltoluene | FALSE | C9 Aromatics | Aromatics
x2_MethylPentane_WAS | ppbv | InChI=1S/C6H14/c1-4-5-6(2)3/h6H,4-5H2,1-3H3 | Concentration of 2-Methylpentane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H14 | 6 |  | 2-Methylpentane | TRUE |  | Other Alkanes
x3_MethylPentane_WAS | ppbv | InChI=1S/C6H14/c1-4-6(3)5-2/h6H,4-5H2,1-3H3 | Concentration of 3-Methylpentane (C6H14) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C6H14 | 6 | 5.45 | 3-Methylpentane | TRUE |  | Other Alkanes
x3_x4_EthylToluene_WAS | ppbv | InChI=1S/C9H12/c1-3-9-6-4-5-8(2)7-9/h4-7H,3H2,1-2H3;InChI=1S/C9H12/c1-3-9-6-4-8(2)5-7-9/h4-7H,3H2,1-2H3 | Concentration of 3-Ethyltoluene (C9H12), 4-Ethyltoluene (C9H12) in dry air | WAS | Whole air samplers (canisters) with offline analysis via GC-MS | TRUE | C9H12 | 9 |  | m/p-Ethyltoluene | FALSE | C9 Aromatics | Aromatics

## UDAQ_Measurements
Species_name | formula | InChI
n-Dodecane | C12H26 | InChI=1S/C12H26/c1-3-5-7-9-11-12-10-8-6-4-2/h3-12H2,1-2H3
Ethane | C2H6 | InChI=1S/C2H6/c1-2/h1-2H3
Ethylene | C2H4 | InChI=1S/C2H4/c1-2/h1-2H2
Propane | C3H8 | InChI=1S/C3H8/c1-3-2/h3H2,1-2H3
Propylene | C3H6 | InChI=1S/C3H6/c1-3-2/h3H,1H2,2H3
Acetylene | C2H2 | InChI=1S/C2H2/c1-2/h1-2H
n-Butane | C4H10 | InChI=1S/C4H10/c1-3-4-2/h3-4H2,1-2H3
Isobutane | C4H10 | InChI=1S/C4H10/c1-4(2)3/h4H,1-3H3
trans-2-Butene | C4H8 | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3+
cis-2-Butene | C4H8 | InChI=1S/C4H8/c1-3-4-2/h3-4H,1-2H3/b4-3-
1,3-Butadiene | C4H6 | InChI=1S/C4H6/c1-3-4-2/h3-4H,1-2H2
n-Pentane | C5H12 | InChI=1S/C5H12/c1-3-5-4-2/h3-5H2,1-2H3
Isopentane | C5H12 | InChI=1S/C5H12/c1-4-5(2)3/h5H,4H2,1-3H3
1-Pentene | C5H10 | InChI=1S/C5H10/c1-3-5-4-2/h3H,1,4-5H2,2H3
trans-2-Pentene | C5H10 | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3+
cis-2-Pentene | C5H10 | InChI=1S/C5H10/c1-3-5-4-2/h3,5H,4H2,1-2H3/b5-3-
3-Methylpentane | C6H14 | InChI=1S/C6H14/c1-4-6(3)5-2/h6H,4-5H2,1-3H3
n-Hexane | C6H14 | InChI=1S/C6H14/c1-3-5-6-4-2/h3-6H2,1-2H3
n-Heptane | C7H16 | InChI=1S/C7H16/c1-3-5-7-6-4-2/h3-7H2,1-2H3
n-Octane | C8H18 | InChI=1S/C8H18/c1-3-5-7-8-6-4-2/h3-8H2,1-2H3
n-Nonane | C9H20 | InChI=1S/C9H20/c1-3-5-7-9-8-6-4-2/h3-9H2,1-2H3
n-Decane | C10H22 | InChI=1S/C10H22/c1-3-5-7-9-10-8-6-4-2/h3-10H2,1-2H3
Cyclopentane | C5H10 | InChI=1S/C5H10/c1-2-4-5-3-1/h1-5H2
Isoprene | C5H8 | InChI=1S/C5H8/c1-4-5(2)3/h4H,1-2H2,3H3
2,2-Dimethylbutane | C6H14 | InChI=1S/C6H14/c1-5-6(2,3)4/h5H2,1-4H3
1-Hexene | C6H12 | InChI=1S/C6H12/c1-3-5-6-4-2/h3H,1,4-6H2,2H3
2,4-Dimethylpentane | C7H16 | InChI=1S/C7H16/c1-6(2)5-7(3)4/h6-7H,5H2,1-4H3
Cyclohexane | C6H12 | InChI=1S/C6H12/c1-2-4-6-5-3-1/h1-6H2
3-Methylhexane | C7H16 | InChI=1S/C7H16/c1-4-6-7(3)5-2/h7H,4-6H2,1-3H3
2,2,4-Trimethylpentane | C8H18 | InChI=1S/C8H18/c1-7(2)6-8(3,4)5/h7H,6H2,1-5H3
2,3,4-Trimethylpentane | C8H18 | InChI=1S/C8H18/c1-6(2)8(5)7(3)4/h6-8H,1-5H3
3-Methylheptane | C8H18 | InChI=1S/C8H18/c1-4-6-7-8(3)5-2/h8H,4-7H2,1-3H3
Methylcyclohexane | C7H14 | InChI=1S/C7H14/c1-7-5-3-2-4-6-7/h7H,2-6H2,1H3
Methylcyclopentane | C6H12 | InChI=1S/C6H12/c1-6-4-2-3-5-6/h6H,2-5H2,1H3
2-Methylhexane | C7H16 | InChI=1S/C7H16/c1-4-5-6-7(2)3/h7H,4-6H2,1-3H3
1-Butene | C4H8 | InChI=1S/C4H8/c1-3-4-2/h3H,1,4H2,2H3
2,3-Dimethylbutane | C6H14 | InChI=1S/C6H14/c1-5(2)6(3)4/h5-6H,1-4H3
2-Methylpentane | C6H14 | InChI=1S/C6H14/c1-4-5-6(2)3/h6H,4-5H2,1-3H3
2,3-Dimethylpentane | C7H16 | InChI=1S/C7H16/c1-5-7(4)6(2)3/h6-7H,5H2,1-4H3
Formaldehyde | CH2O | InChI=1S/CH2O/c1-2/h1H2
n-Undecane | C11H24 | InChI=1S/C11H24/c1-3-5-7-9-11-10-8-6-4-2/h3-11H2,1-2H3
2-Methylheptane | C8H18 | InChI=1S/C8H18/c1-4-5-6-7-8(2)3/h8H,4-7H2,1-3H3
m-Xylene;p-Xylene | C8H10 | InChI=1S/C8H10/c1-7-4-3-5-8(2)6-7/h3-6H,1-2H3
Benzene | C6H6 | InChI=1S/C6H6/c1-2-4-6-5-3-1/h1-6H
Toluene | C7H8 | InChI=1S/C7H8/c1-7-5-3-2-4-6-7/h2-6H,1H3
Ethylbenzene | C8H10 | InChI=1S/C8H10/c1-2-8-6-4-3-5-7-8/h3-7H,2H2,1H3
o-Xylene | C8H10 | InChI=1S/C8H10/c1-7-5-3-4-6-8(7)2/h3-6H,1-2H3
1,3,5-Trimethylbenzene | C9H12 | InChI=1S/C9H12/c1-7-4-8(2)6-9(3)5-7/h4-6H,1-3H3
1,2,4-Trimethylbenzene | C9H12 | InChI=1S/C9H12/c1-7-4-5-8(2)9(3)6-7/h4-6H,1-3H3
n-Propylbenzene | C9H12 | InChI=1S/C9H12/c1-2-6-9-7-4-3-5-8-9/h3-5,7-8H,2,6H2,1H3
Isopropylbenzene | C9H12 | InChI=1S/C9H12/c1-8(2)9-6-4-3-5-7-9/h3-8H,1-2H3
o-Ethyltoluene | C9H12 | InChI=1S/C9H12/c1-3-9-7-5-4-6-8(9)2/h4-7H,3H2,1-2H3
m-Ethyltoluene | C9H12 | InChI=1S/C9H12/c1-3-9-6-4-5-8(2)7-9/h4-7H,3H2,1-2H3
p-Ethyltoluene | C9H12 | InChI=1S/C9H12/c1-3-9-6-4-8(2)5-7-9/h4-7H,3H2,1-2H3
m-Diethylbenzene | C10H14 | InChI=1S/C10H14/c1-3-9-6-5-7-10(4-2)8-9/h5-8H,3-4H2,1-2H3
p-Diethylbenzene | C10H14 | InChI=1S/C10H14/c1-3-9-5-7-10(4-2)8-6-9/h5-8H,3-4H2,1-2H3
Styrene | C8H8 | InChI=1S/C8H8/c1-2-8-6-4-3-5-7-8/h2-7H,1H2
1,2,3-Trimethylbenzene | C9H12 | InChI=1S/C9H12/c1-7-5-4-6-8(2)9(7)3/h4-6H,1-3H3